Corrigendum in Technical Specification for Tender No. CC-1/2007

Section III: Schedule of Requirement

1(a). Server - Dual Processor based (All the options have to be quoted).

(i) AMD Based (Option – 1)

Parameters	Original Specification	Revised Specification
Chipset	Either of the following :- / AMD Chipset 8111 & 8132 / Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset	Either of the following :- / AMD Chipset 8111 & 8132 / Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset / Nvidia MCP 55 Pro
Form Factor (new parameter)		Rackmountable
Storage	8 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5.	8 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 10000 RPM or higher in RAID-5.
Backup Device	Internal Digital Linear Tape (DLT) Drive with 40/80 GB or higher.	Internal/External Digital Linear Tape (DLT) Drive with 40/80 GB or higher.
Server Management Software	Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling / OS Watch DOG Timer and Fault Resilient Booting / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability.	(i) Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling. / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. / (ii) Enhanced Intelligent Platform Management Interface (IPMI) Card
Other features, if any	Support Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput	Parameter Deleted

1(a)(ii) Intel Based (Option – 2)

Parameters	Original Specification	Revised Specification
Processor	2 x Dual Core Intel Xeon DP CPU 3.6 GHz or higher with 2MB L2 or more cache.	2 x Dual Core Intel Xeon CPU 3.0 GHz or higher with 4MB L2 or more cache.
PCI	Atleast 4 with two hot-plug 64-bit/100/133 Mhz PCI-X and two PCI Express x4/x8 slots.	Atleast 4 with two 64-bit/100/133 Mhz PCI-X and two PCI Express x4/x8 slots.
I/O Ports	At least 1 parallel, 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port.	At least 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port.
Floppy Drive	Internal 3.5” 1.44 MB floppy drive	3.5” 1.44 MB floppy drive
Server Management Software	Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling / OS Watch DOG Timer and Fault Resilient Booting. / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability.	(i) Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling. / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. / (ii) Enhanced Intelligent Platform Management Interface (IPMI) Card

1(c). Server - Single Processor based (All the options have to be quoted).

(i) AMD Based (Option –1)

Parameter	Original Specification	Revised Specification
Chipset	Either of the following :- / AMD Chipset 8111 & 8132 / Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset	Either of the following :- / AMD Chipset 8111 & 8132 / Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset / Nvidia MCP 55 Pro
Form Factor (new parameter)		Rackmountable
Storage	6 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5.	6 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 10000 RPM or higher in RAID-5.
Backup Device	Internal Digital Linear Tape (DLT) Drive 40/80 GB.	Internal/External Digital Linear Tape (DLT) Drive with 40/80 GB or higher.
Server Management Software	Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling / OS Watch DOG Timer and Fault Resilient Booting / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability.	(i) Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling. / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. / (ii) Enhanced Intelligent Platform Management Interface (IPMI) Card
Other features, if any	Support Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput	Parameter Deleted

(ii) Intel Based – (Option – 2)

Parameter	Original Specification	Revised Specification
Processor	Single processor Dual Core Intel Xeon 2218 2.6 GHz or higher with 2MB or more L2 cache.	Single processor Dual Core Intel Xeon 2.66GHz or higher with 4 MB or more L2 cache.
FSB	1066 MHz	1333MHz
Chipset	Intel 3000	Intel 5000V / 5000P
Server Management Software	Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling / OS Watch DOG Timer and Fault Resilient Booting / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability.	(i) Web based monitoring for: - / Support Remote Access & Remote monitoring / Server trouble shooting / Health Indicator and Corrective Action including Auto Mated Power Cycling. / Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. / (ii) Enhanced Intelligent Platform Management Interface (IPMI) Card

Schedule II : Desktop Computers.

Parameter	Original Specification	Revised Specification
Certification	New Parameter	Red Hat Certified

# Schedule III : Laptops

Parameters	Specification	Revised Specification
Memory	DDR2 512MB 667-MHz / Two SODIMM slots supporting dual channel memory supporting 512MB/1GB/2GB modules / Upgradeable to 4GB or more.	DDR2 512MB 400-MHz or higher / Two SODIMM slots supporting dual channel memory supporting 512MB/1GB/2GB modules / Upgradeable to 4GB or more.
Communication	Integrated 10/100 ethernet. / Integrated 56K v.92 Modem / Integrated Infrared port compatible with IrDA Standards 1.1 (Fast IR) and 1.0 (Slow IR).	Integrated 10/100 ethernet. / Integrated 56K v.92 Modem
Certification	New Parameter	Red Hat/SUSE Certified.

Schedule IV: Thin Clients.

Parameter	Original Specification	Revised Specification
Processor	AMD Geode NX 1 GHz or above Fan Less Embedded Processor	Either of these - / AMD Geode NX 1 GHz or above Fan Less Embedded Processor / VIA C7 1 GHz or above Fan Less Embedded Processor / VIA Eden 1 GHz or above Fan Less Embedded Processor
Operating System	Embedded Red Hat Enterprise Linux 4 and above. / Compressed read-only file system. / NFS and Samba file system support. / CUPS/LPR/LPD and Samba print support for Deskjet, Laserjet and Dot Matrix printers. / X11R6 local Windows manager. / Password protected setup.	Embedded Red Hat Enterprise Linux 4 or any other Linux Operating System with kernel 2.6.18 and above. / Compressed read-only file system. / NFS and Samba file system support. / CUPS/LPR/LPD and Samba print support for Deskjet, Laserjet and Dot Matrix printers. / X11R6 local Windows manager. / Password protected setup.
Local Applications	Local Red Hat Enterprise Linux 4 with / Open Office 2.0.4 or latest / Firefox 1.5.x with Sun JVM 1.5 upwards support / Adobe Acrobat Reader (Latest version) / Flash Player / Local Mail Client Support.	Local Linux OS with / Open Office 2.1 or latest / Firefox 1.5.x or latest with Sun JVM 1.5 upwards support / Adobe Acrobat Reader 7.0 or latest. / Flash Player / Local Mail Client Support. / Support for Devanagari script with Unicode font and available in Remington/ Phonetic/ Transliteration/ Inscript keyboard layouts.
Memory	512 MB SODIMM DDR Memory upgradeable to 1GB or more.	512 MB DDR/DDR2 Memory upgradeable to 1GB or more.
Audio	1/8-inch mini microphone, Internal Stereo amplified speaker, 1/8-inch mini full 16-bit stereo	1/8-inch mini microphone, External Stereo amplified speaker, 1/8-inch mini full 16-bit stereo
Networking	Integrated 10/100 Mbps auto sensing Ethernet with RJ-45 connector. / TCP/IP with DNS and DHCP. / Wake on LAN / DHCP support for automatic upgrades and unit configuration. / PPP	Integrated 10/100 Mbps auto sensing Ethernet with RJ-45 connector. / Wireless LAN 802.11 / TCP/IP with DNS and DHCP. / Wake on LAN / DHCP support for automatic upgrades and unit configuration. / PPP
Security	Password Protection setup. / Kensington Lock Support	Password Protection setup.
Power Supply	50 Watts or less power supply. / No moving parts in the Thin Client.	65 Watts or less power supply. / No moving parts in the Thin Client.
Mounting of Thin Clients	Desktop/Vertical VESA Mounting with kit.	Desktop/Vertical VESA Mounting with kit.. The Thin Client can be mounted on the TFT with substantial stability.
Regulatory Standards	Regulatory standards FCC, UL and RoHS compliant.	Parameter Deleted
Management Tool / (to be supplied as part of Thin Client Management Software)	Thin Client Management software tool complaint with HTTP/HTTPS/SNMP with following features: - / Single Deployment; / Secure Management; / Remote management, configuration and upgrades through management software; / Complete image upgrade; / Send messages; / Easy migration; / Wake Client Remotely (Wake on LAN) / Remote Screen Shadowing of entire desktop (via VNC viewer); / PXE BIOS for image network boot.	Thin Client Management software tool complaint with HTTP/HTTPS/SNMP with following features: - / Single Deployment; / Secure Management; / Remote management, configuration and upgrades through management software; / Complete image upgrade; / Send messages; / Easy migration; / Wake Client Remotely (Wake on LAN) / Remote Screen Shadowing of entire desktop (via VNC viewer); / PXE BIOS for image network boot. / Software should be Linux based.

Schedule V : Laser Printers.

5(b). Laser Printers

Parameter	Original Specification	Revised Specification
Print Speed	20 ppm	22 ppm
Warranty	Three Years Comprehensive on-site warranty.	Three Years Comprehensive on-site warranty from OEM.

## Schedule VI : Line Matrix Printers

Parameter	Original Specification	Revised Specification
Print Speed	Print Speed (LPM, upper case characters, lower case characters) :- / High Speed – 1200/1028 / Graphics Speed :- / 60 x 72 dpi – 100 inches per minute	Print Speed (LPM, upper case characters, lower case characters) :- / High Speed/Draft – 1200/1028 / Graphics Speed :- / 60 x 72 dpi – 100 inches per minute
Typefaces	High Speed, Data Processing, Near Letter Quality	High Speed/Draft, Data Processing, Near Letter Quality
Character Pitch	10,12,13.3,15,17.1,20	10,12,13.3 or 13.33,15,17.1 or 17.14,20
Line Spacing	6,8,10.3,n/72,n/216	6,8,10 or 10.3,n/72,n/216
Printable Width	2.5” to 18.9”	2.5” to 13.6” or better
Emulations	Serial matrix printer, Epson FX 1800, IBM ProPrinter III XL, Printronix P Series, Printronix P Series XQ, DEC LG, ANSI 3.64	Epson FX 1800 or Epson FX 1180, IBM ProPrinter III XL, Printronix P Series, DEC LG, ANSI 3.64 or Tally ANSI or Genicom ANSI
Resident Character Sets	Unicode UTF-8, IBM World Trade, ECMA Latin-1, DEC Multinational, IBM Code Page 437 and 850, OCR A, OCR B	Unicode UTF-8 or Dev Unicode, ECMA Latin-1 or Latin1 8859-1, DEC Multinational, IBM Code Page 437 and 850 or Code Page 437 and 850
Fonts	High Speed, Data Processing, Serif, Sans Serif, OCR-A, OCR-B	High Speed or Draft, Data Processing, OCR-A, OCR-B
Bar Codes	Code 39, Code 128, interleaved 2/5, UPC-A,UPC-E, EAN 8, EAN 13, EAN 128, Codabar, Identicon 2 to 5, MSI, POSTNET, Royal Mail, PDF 417	Code 39, Code 128, interleaved 2/5, UPC-A,UPC-E, EAN 8, EAN 13, EAN 128, Codabar, Identicon 2 to 5, MSI, POSTNET, PDF 417
Paper Handling	Type Fan folded, Continuous, Edge-perforation Type Fan folded, Continuous, Edge-perforation / Width 3” to 17” Width 3” to 17” / Copies Upto 6 parts Copies Upto 6 parts / Thickness 0.025” Thickness 0.025” / Paper Path Straight through paper path with easy-load dual adjustable tractors Paper Path Straight through paper path with easy-load dual adjustable tractors / Feed Bottom feed Feed Bottom feed / Forms Control 14 and 12 channel electronic vertical format unit, paper-out detector and alarm, paper motion detector and alarm. Forms Control 14 and 12 channel electronic vertical format unit or VFU and VT Channel, paper-out detector and alarm, paper motion detector and alarm.
Interface	IEEE-1284 Parallel Port, RS-232, Ethernet 10/100 and Wireless 802.11b/g.	IEEE-1284 Parallel Port, RS-232, Ethernet 10/100