Form Serial No.: |__|__| 	Signature of Issuing Officer:

No. - CC-1/2007

High Court of Judicature at Allahabad

Allahabad – 211001

Uttar Pradesh, India.

http://www.allahabadhighcourt.in

Tender Document

for

Supply and installation of Servers, Desktops, Laptops, Thin Clients, Printers, Switches and UPS

Issued By –

Registrar General,

High Court, Allahabad.

### Table of Contents

Section – I: Notice Inviting Tender.

Section – II: Terms and Conditions.

Section – III: Schedule of Requirement.

Section – IV: General Information

Section – V:  Technical Bid.

Section –VI:  Financial Bid.

Appendix – I: Format of Performance Bank Guarantee.

Appendix – II: Format of Conveyance Deed.

Appendix – III: Format of Tripartite Agreement.

Note: - For important dates, quantity and EMD see Section – I

## SECTION – I: Notice Inviting Tender

Sealed tenders are invited from reputed Original computer hardware manufacturers/their authorized dealers only for the supply, installation and commissioning of items mentioned below (details mentioned in Section – III): Schedule of Requirement for the High Court, Allahabad and its Bench at Lucknow. Selected vendor will be required to supply, install, and configure Hardware/Software items as per the requirement of Allahabad High Court.

Quantity and Earnest Money Deposit (EMD) for items as mentioned in Section –III

| Schedule No. | Sl. No. | Items | Quantity | EMD Amount (in Rs.) |
| --- | --- | --- | --- | --- |
| Schedule – I | 1(a) | Servers (Dual Processor) | 2 | 30,000 |
|  | 1(b) | Operating System for 1(a). | 2 |  |
|  | 1(c) | Servers (Single Processor) | 2 |  |
|  | 1(d) | Operating System for 1(c). | 2 |  |
| Schedule – II | 2 | Desktop Computers | 30 | 30,000 |
| Schedule – III | 3 | Laptops | 25 | 50,000 |
| Schedule – IV | 4 | Thin Clients | 370 | 1,50,000 |
| Schedule – V | 5(a) | Laser Printers (Heavy Duty) | 3 | 15,000 |
|  | 5(b) | Laser Printers | 30 |  |
| Schedule – VI | 6 | Line Matrix Printers | 2 | 10,000 |
| Schedule – VII | 7(a) | 136 cols. Dot Matrix Printers | 5 | 30,000 |
|  | 7(b) | 80 cols. Dot Matrix Printers | 200 |  |
| Schedule – VIII | 8 | Switches | 25 | 20,000 |
| Schedule – IX | 9 | 500VA Offline UPS | 200 | 12,000 |

## Important Dates: -

| Pre-bid Meeting | 20th January, 2007 11:30 A.M. |
| --- | --- |
| Last Date and time for submission of bids | 3rd February, 2007 1:30 P.M. |
| Date of opening of “Terms and Conditions” and “Technical Bid” | 3rd February, 2007 2:30 P.M. |
| Presentation/Demonstrations by short-listed bidders | 8th – 9th February, 2007 |
| Date of Opening of “Financial Bid” | 17th February, 2007 2:30 P.M. |

## Venue: - Computer Centre, High Court, Allahabad.

## Tender Document Fee (Non-refundable) Rs. 1000.00 (Rupees One Thousand Only)

## SECTION – II: Terms and Conditions

1. DEFINITIONS

1(i) “Purchaser” means High Court of Judicature at Allahabad and Its Bench at Lucknow.

1(ii). “The Tenderer or Bidder” means an individual or the firm who participates in this tender.

1(iii) “The Goods/Services” means all the hardware, softwares, licenses, and services under the bid.

1(iv)  “Letter of Intent” means the written communication to the successful bidder of the intention of the Purchaser of the goods/services as per the purchase order read with the bid document.

1(vi) “Purchase Order” means the written order signed by the Purchaser for the purchase of goods/services after the Letter of Intent has been accepted by the successful bidder. It shall include all the attachment and appendices thereto and all the documents incorporated by the reference therein.

1(vii). The records, terms and expressions not significantly defined herein or in the bid documents shall have same meaning assigned to them in the Indian Sale of Goods Act, 1930 or the Indian Contract Act, 1872 or the General Clause Act, 1897 as the case may be. The headnotes are for guidance only and shall not affect the interpretation or construction of any provision thereof and in the bid document.

2. ELIGIBILITY TO BID

2(i) The bidder should be a reputed OEM or a dealer of the OEM or System Integrator (SI). Indian reputed SI and having valid MOU with OEMs will only be eligible in this tender. The MOU agreement must indicate the commitment of OEM for meeting all the contractual obligations and shall be required to be submitted (to be submitted in Technical Bid envelope) at the time of bid.

2(ii). The experience of OEM will be considered for eligibility. The bidder should have supplied at least 75% of the quantity of items specified in the tender in a single order within last two years to qualify experience criterion (proof must be submitted in Technical Bid envelope).

2(iii). It is compulsory to bid for all items for any particular schedule.

2(iv). The bidder can bid for any number of schedules mentioned in the “Schedule of Requirements” in Section -  III.

2(v). The bidder is not black listed by Government of Uttar Pradesh or by Government of India.

3. COST OF BIDDING

3(i) The bidder shall bear all the costs associated with the preparation and submission of his bid(s). The Purchaser, in no case, will be responsible or liable for any cost(s), regardless of the conduct of the process.

4. THE BID DOCUMENT

4(i) The bid document can be obtained from Computer Centre, High Court, Allahabad on deposit of Rs.1000.00 (Rupees One Thousand only) as bid document fee at the Cash Counter, High Court, Allahabad.

4(ii) The bid document is also available on the web site http://www.allahabadhighcourt.in to enable the bidders to use this document for submitting their bids in High Court, Allahabad against the tender notice. The bidders who will submit their bids on downloaded bid documents, will submit bid document fee of Rs. 1000 (Rupees One Thousand only) in the form of account payee Bank Draft payable on any branch of nationalized bank at Allahabad in favor of "Registrar General, High Court, Allahabad"

4(iii) This tender document fee of Rs.1000.00 will be non-refundable to the bidders. In case of any ambiguity, the original tender document available in High Court, Allahabad or on the web site shall be treated as final tender document.

4(iv) The tenders submitted on downloaded tender documents without enclosing tender document fee (non-refundable) of Rs.1000.00 (Rupees One Thousand Only) in the form of Bank Draft shall not be accepted and will be summarily rejected.

4(v) The bidding procedure, terms & conditions of the contract and the goods/services proposed to be purchased are described in the bid document, which comprise the following:

Section-I: Notice Inviting Tender

Section-II: Terms and Conditions.

Section-III: Schedule of Requirement

Section-IV: General Information

Section-V: Technical Bid.

Section-VI: Financial Bid.

4(vi) The bidder shall examine all the forms, instructions, terms & conditions and specifications in the bid document. The failure to furnish all information required as per the bid document or submission of bids not substantively responsive to the bid document shall be at the bidder's own risk and liable to summary rejection.

5. AMENDMENT TO THE BID DOCUMENT

5(i) At any time, prior to the date of submission of bids, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify bid document by amendments.

6. NOTIFICATION OF AMENDMENT IN THE BID

6(i) The amendments to the bid document if any shall be published as a corrigendum on the website of High Court at http://www.allahabadhighcourt.in.

6(ii) In order to afford prospective bidders a reasonable time to take the amendment into account in preparing their bids, the purchaser may, at its discretion, extend the deadline for the submission of bids suitably.

7. DOCUMENTS COMPRISING THE BID

The bid prepared by the bidder shall comprise of "Terms & Conditions", "Technical Bid" and "Financial Bid" and should be submitted in three separate envelopes duly sealed and signed:

It shall have the following components:

(I) Documentary evidence established in accordance with the clause 2 & 10 that the bidder is eligible to bid and is qualified to perform the contract if his bid is accepted. (to be submitted in Terms and Conditions envelope).

(ii) Bid security furnished in accordance with clause 12. (to be submitted in Terms and Conditions Bid envelope)

(iii) Power-of-attorney as per clause 14(ii). (to be submitted in Terms and Conditions envelope)

(iv) Permanent Account Number (PAN) received from Income Tax department. (to be submitted in Terms and Condition envelope)

(v) Sales Tax Certificates (CST & MST). (to be submitted in Terms and Condition envelope).

(vi) General Information form as mentioned in Section IV (to be submitted in Terms and Condition envelope).

(vii) Affidavit that the bidder’s firm has not been black listed from Government of U.P./Government of India (to be submitted in Terms and Condition envelope).

(viii) A Clause by Clause compliance as per clause 11(ii)(c) and other documents as per clause 11. (to be submitted in Technical Bid envelope)

(ix) Technical Bid Form as per Section V. (to be submitted in Technical Bid envelope)

(x) A bid form and price schedule completed in accordance with clause 8 & 9. (to be submitted in Financial Bid envelope)

8. BID FORM

8(i) The bidder shall complete the General Information form in all respect. The Technical Bid form and Financial Bid for the appropriate Schedule of Requirement for which he is bidding complete in all respect as per section VI.

9. BID PRICES

9(i) The bidder shall give the total composite price inclusive of all kinds of Levies & Taxes i.e. Sales Tax, Octroi/Entry Tax & Excise, packing, forwarding, freight and insurance etc. The basic unit price and all other components of the price need to be individually indicated against the goods it proposes to supply under the contract as per the price schedule given in Section – VI. Prices of incidental services should also be quoted. The offer shall be firm in Indian Rupees. No Foreign exchange will be made available by the purchaser. The price comparison shall be based on total prices of items.

9(ii) Prices indicated in the Price schedule shall be entered in the following manner:

(a). The Basic Unit price (Ex-Factory Price) of the goods, Excise duty, Sales Tax, Freight, Forwarding, Packing, Insurance and any other Levies/Charges/Octroi, already paid or payable by the supplier shall be quoted separately item wise.

(b). The supplier shall quote as per price schedule given in Section - VI for all the items given in schedule of requirement.

(c). It is mandatory to quote for all components of the price viz. Ex.Factory Price, Excise duty, Customs duty, Sales Tax etc. The bidder cannot show second sale.

9(iii). The Basic Unit Price quoted by the bidder shall remain fixed during the entire period of Conveyance Deed and shall not be subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsible and rejected.

9(iv). The prices quoted by the bidder shall be in detailed breakup to enable the Purchaser to arrive at the price of equipment/system offered.

9(iv). The price approved by the Purchaser for procurement will be inclusive of Levies and Taxes, Octroi/Entry Tax, packing, forwarding, freight and insurance as mentioned in para 9(i) above. Breakup in various heads like excise duty, sales tax, insurance, freight and other taxes paid/payable as per clause 9(ii)(a) is for the information of the purchaser and any change in these shall have no effect on price during the scheduled delivery period.

9(v) “DISCOUNT, if any, offered by the bidders shall not be considered unless specifically indicated in the price schedule. Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply, etc. into account”.

9(vi) The Purchaser shall provide “D” Form for sales tax to the supplier and Form-32 for road permit.

10. DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATION

10(i) The bidder shall furnish, as part of the bid document establishing the bidder’s eligibility, the following documents or whichever is required as per terms and conditions of bid document.

(a). Certificate of Incorporation.

(b). Article or Memorandum of Association or partnership deed or proprietorship deed as the case may be.

(c). Registration certificate from State Director of Industries or from Secretariat for Industrial Approval (SIA), Ministry of Industries, Government of India.

(d). Approval from Reserve Bank of India/ SIA in case of foreign collaboration, if applicable.

10(ii)

(a) The bidder shall furnish Annual Report and/ or a certificate from its bankers as evidence that he has financial capability to execute the Conveyance Deed.

(b) The bidder shall furnish documentary evidence about technical and production capability necessary to execute the Conveyance Deed.

10(iii) In order to enable the Purchaser to assess the provenness of the system offered, the bidder shall provide documentary evidence regarding the system being offered by him.

11. DOCUMENTS ESTABLISHING GOOD’S CONFORMITY TO BID DOCUMENT

11(i) Pursuant to clause 7, the bidder shall furnish, as part of his (Technical) bid, documents establishing the conformity of his bid to the bid document of all goods and services which he proposes to supply under the contract.

11(ii) The documentary evidences of the “goods and services” conformity to the bid document may be, in the form of printed leaflets, literature, drawings, data etc. and the bidder shall furnish along with the Technical Bid as per the format mentioned in Section - V :

(a) A detailed description of goods with essential technical and performance characteristics;

(b)  A list, giving full particulars including available sources and current prices of all spare parts, special tools etc. necessary for the proper and continuous functioning of the goods for a period of three years following commencement of use of the goods by the purchaser, and

(c) A clause-by-clause compliance on the purchaser’s Technical Specifications and Commercial Conditions demonstrating substantial responsiveness to the technical specifications and commercial conditions be mentioned in the format mentioned in Section – V. In case of deviations, a statement of the deviations and exception to the provision of the Technical Specifications and Commercial Conditions shall be given by the bidder. A bid without clause-by-clause compliance of the Technical specifications (Section-VI), Commercial Conditions (Section-III) and Special Conditions (Section-IV) shall not be considered.

11(iii) For the purpose of compliance to be furnished pursuant to the clause 11(ii)(c) above, the bidder shall note that the standards for the workmanship, material and equipment and reference to the brand names or catalogue number, designated by the Purchaser in its Technical specifications are intended to be descriptive only and not restrictive.

12. EARNEST MONEY DEPOSIT AS BID SECURITY, PERFORMANCE BANK GUARANTEE AND PAYMENT TERMS.

12(i) Pursuant to clause 7, the bidder shall furnish, as part of his bid, Earnest Money Deposit as bid security of amount in Section – I against each item for which bid is being submitted. The bidders (small scale units), who are registered with National Small Scale Industries Corporation are also required to furnish the bid security.

12(ii) The bid security is required to protect the purchaser against the risk of bidder’s conduct, which would warrant the forfeiture of bid security pursuant to clause 12(vii)

12(iii) The bid security shall be in the form of account payee Bank Draft payable on any branch of nationalized bank at Allahabad in favour of Registrar General, High Court, Allahabad and valid for six months in a separate sealed envelop marked “Earnest Money Deposit” inside the envelop marked “Terms and Conditions”.

12(iv) The bid not secured in accordance with clause 12(i) & 12(iii) shall be rejected by the Purchaser being non-responsive at the bid opening stage.

12(v) The bid security of the unsuccessful bidder will be discharged/returned as promptly as possible but not later than 30 days after the expiry of the period of the bid validity prescribed by the purchaser pursuant to clause 13.

12(vi) The successful bidder’s bid security will be discharged upon the bidder’s acceptance of the Letter of Intent (LOI) satisfactorily in accordance with clause 27 and furnishing the performance security as Bank Guarantee.

12(vii) The bid security may be forfeited:

(a) If the bidder withdraws his bid during the period of bid validity specified by the bidder in the bid form or if the bidder is not able to provide the consent of OEM for signing the tripartite agreement or  if the bidder is not able to provide proper authorization from OEM of items for which the bid is being submitted or

(b) In the case of successful bidder, if the bidder fails:

(A) To sign the contract in accordance with clause 28 or

(B) To furnish performance security in accordance with clause 27.

(c) In the above cases, i.e. 12(vii) (a) & (b), the bidder will not be eligible to participate in the tender for same item for one year from the date of issue of Letter of Intent (LOI).

The bidder will not approach the court against the decision of the Purchaser in this regard.

12(viii) Within 7 days of the receipt of notification of award i.e. purchase order from the Purchaser, the successful Bidder shall furnish the performance security in the form of bank guarantee for an amount of 10% of the value of the equipment to be procured from State Bank of India or its associate banks or any nationalized bank of India or scheduled bank located in India in favour of Registrar General, High Court, Allahabad and valid for three months beyond the full warranty period of three years from the date of successful commissioning of all the supplied items in the prescribed format. At the end of each year for first two years, the performance bank guarantee of 3% amount shall be returned by the Purchaser and the bank guarantee of remaining 4% amount shall be returned after the completion of Onsite Comprehensive warranty period of three years. The successful bidder may submit bank guarantee accordingly.

12(ix) Payment for the items to be supplied by the bidder against the purchase order shall be made by Purchaser as follows: -

80% amount of the total order value will be paid to the bidder within 2 weeks of physical delivery against all the ordered items to the sites after their physical inspection at the office/factory of the bidder or physical inspection of all the items at site(s) by the team of technical experts sent by Purchaser satisfactorily and providing all the delivery challans duly signed and stamped by authorized representatives of user department and furnishing of the performance bank guarantee amount of total order value in favour of Purchaser on the format prescribed by the Purchaser.

Remaining 20% amount of the total order value will be released to the bidder within 2 weeks after satisfactory installation, testing and commissioning of all the supplied items at sites and imparting training to the users.

Payment shall be released on receipt of the original bills in triplicate complete in all respect and original delivery challans of all the items. No payment shall be released for part delivery of the hardware, software and other related accessories against the purchase order, except if action is taken vide clause 16.

13. PERIOD OF VALIDITY OF BIDS

13(i) Bid shall remain valid for 90 days from the date of opening of bids prescribed by the purchaser pursuant to clause 19(i). A bid valid for a shorter period shall be rejected by the purchaser being non-responsible.

13(ii) In exceptional circumstances, the purchaser may request the consent of the bidder for an extension of the period of bid validity. The request and the response thereto shall be made in writing. The bid security provided under clause 12 shall also be suitably extended. A bidder accepting the request and granting extension will not be permitted to modify his bid.

14. FORMAT AND SIGNING OF BID

14(i) Terms and Conditions, Technical Bid and Financial Bid shall be typed or printed and all the pages numbered consecutively and shall be signed by the bidder or a person or persons duly authorized to bind the bidder to the contract. The letter of authorization (in Terms and Conditions envelope) shall be indicated by written power-of-attorney accompanying the bid. All pages of the bid, except for un-amended printed literatures, shall be signed by the person or persons signing the bid. The bids submitted shall be sealed properly.

14(ii). The bid shall contain no interlineations, erasures or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed by the person or persons signing the bid.

15. SEALING AND MARKING OF BIDS.

15(i) The bidder shall seal the Terms and Conditions, Technical Bid and the Financial Bid in separate (inner) envelopes. The two bids will further be sealed in an outer envelope. All the envelopes should be sealed separately by the personal seal of the bidder.

15(ii) The bid should be submitted in following manner:

(a) The envelopes shall be addressed to Registrar General, High Court, Allahabad, Uttar Pradesh-211001.

(b) The envelope shall bear ‘TENDER DOCUMENT (tender number) and the words ‘DO NOT OPEN BEFORE’ (due date and time).

(c) The inner and outer envelopes shall indicate the name and address of the bidders to enable the bid to be return unopened in case it is declared ‘late’ or rejected.

(d) Tender may be sent by registered post or delivered in person on above mentioned address (address is given in clause 15(ii)(a) above). The responsibility for ensuring that the tenders are delivered in time would vest with the bidder. The purchaser shall not be responsible if the bids are delivered elsewhere.

(e) Bids delivered in person on the day of tender opening shall be delivered up to 13:30 hrs at the venue (address is given in clause 15(ii)(f) below) of the tender opening. The purchaser shall not be responsible if the bids are delivered elsewhere.

(f) Venue of the Tender opening: Tenders will be opened at Computer Centre, High Court, Allahabad, Uttar Pradesh - 211001 at 14:30 hrs on the due date. If due to administrative reason, the venue of bid opening is changed, it will be displayed prominently at Computer Centre, High Court, Allahabad and in the Web-Site of Allahabad High Court.

15(iii) If both the envelopes are not sealed and marked as required in clause 15(i) and 15(ii), the bid shall be rejected.

16. SUBMISSION OF BIDS

16(i) Bids must be received by the Purchaser at the address specified in clause 15.2 not later than 14:30 hrs on due date.

16(ii) The purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bid document in accordance with clause 6 in which case all rights and obligations of the purchaser and bidders previously subject to the deadline will thereafter be subjected to the deadline as extended.

16(iii) The bidder shall submit his bid offer against a set of bid document purchased by him for all or some of the schedules in schedules of requirement mentioned in Section - III of the bid document. Bidder may include alternate offer, for all the schedules or some of the schedules as mentioned in schedules of requirements. However, not more than one independent and complete offer shall be permitted from the bidder.

16(iv) All the items mentioned in a particular schedule in Section - III in Schedules of requirement has to be quoted for.

17. LATE BIDS

Any bid received by the purchaser after the deadline for submission of bids prescribed by the purchaser pursuant to clause 16, shall be rejected and returned unopened to the bidder.

18. MODIFICATION AND WITHDRAWAL OF BIDS

18(i) The bidder may modify or withdraw his bid after submission provided that the written notice of the modification or withdrawal is received by the purchaser prior to the deadline prescribed for submission of bids.

18(ii) The bidder’s modification or withdrawal notice shall be prepared, sealed, marked and dispatched as required in the case of bid submission in accordance with the provision of clause 15. A withdrawal notice may also be sent by FAX but followed by a signed confirmation copy by post not later than the deadline for submission of bids.

18(iii) Subject to clause 20, no bid shall be modified subsequent to the deadline for submission of bids.

19. OPENING OF BIDS BY PURCHASER

19(i) The purchaser shall open bids in the presence of bidders or their authorized representatives who chose to attend, on due date. The bidder’s representatives, who are present shall sign in an attendance register. Authority letter to this effect shall be submitted by the bidders before they are allowed to participate in bid opening.

19(ii) A maximum of two representatives of any bidder shall be authorized and permitted to attend the bid opening.

19(iii) The bidder’s names, technical bid, financial bid, modifications, bid withdrawals and such other details as the purchaser, at its discretion, may consider appropriate will be announced at the time of opening.

19(iv) The date fixed for opening of bids, if subsequently declared as holiday by the Purchaser, the revised date of schedule will be notified. However, in absence of such notification, the bids will be opened on next working day, time and venue remaining unaltered.

19(v) Terms and Conditions envelop and then Technical Bid envelopes for the bidders who have accepted Terms and Conditions will be opened on February 3,2007.

19(vi) The Financial Bid envelopes of only technically qualified bidders will be opened on February 17, 2007.

20. CLARIFICATION OF BIDS

To assist in the examination, evaluation and comparison of bids, the purchaser may, at its discretion ask the bidder for the clarification of its bid. The request for the clarification can be in oral or in writing and the response shall be in writing only. However, no post bid clarification at the initiative of the bidder shall be entertained.

21. PRELIMINARY EVALUATION

21(i) Purchaser shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

21(ii) Arithmetical errors shall be rectified on the following basis. If there is a discrepancy between the unit price and total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected by the purchaser. If there is a discrepancy between words and figures, the amount in words shall prevail. If the supplier does not accept the correction of the errors, his bid shall be rejected.

21(iii) Prior to the detailed evaluation pursuant to clause 22, the Purchaser will determine the substantial responsiveness of each bid to the bid document. For purposes of these clauses, a substantially responsive bid is one which confirms to all the terms and conditions of the bid document without material deviations. The purchaser’s determination of bid’s responsiveness shall be based on the contents of the bid itself without recourse to extrinsic evidence.

21(iv) A bid determined as substantially non-responsive will be rejected by the purchaser and shall not subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

21(v) The purchaser may waive any minor infirmity or non-conformity or irregularity in a bid which doesn’t constitute a material deviation, provided such waiver doesn’t prejudice or effect the relative ranking of any bidder.

21(vi) The purchaser reserves the right to see demonstration of goods and services quoted in the bids.

22. EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS

22(i) The purchaser shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 21.

22(ii) The evaluation and comparison of responsive bids shall be done on the composite price of the goods offered, inclusive of all kinds of Levies & Taxes i.e. Sales tax & Excise duty, Octroi/Entry tax, packing, forwarding, freight and insurance etc. as indicated in column 15 of the Price Schedule in Section-VII, Part-II of the bid document.

22(iii) Technical specifications of the Goods/Services and the leaflets/supporting document enclosed to confirm them.

22(iv) Bidder's turnover in last three years.

22(v) Bidder's installation base and After Sales Service support at Allahabad, Lucknow and Districts of UP.

22(vi) For uniform comparative analysis, MNC & Indigenous brands shall be compared separately.

22(vii) Weightage may be given to the bidders offering additional bundled softwares along with the computers, if all other parameters of technical evaluation are equal.

23. CONTACTING THE PURCHASER

23(i) Subject to clause 20, no bidder shall try to influence the Purchaser on any matter relating to its bid, from the time of the bid opening till the time the contract is awarded.

23(ii) Any effort by a bidder to modify his bid or influence the purchaser in the purchaser’s bid evaluation, bid comparison or contract award decision shall result in the rejection of the bid.

24. PLACEMENT OF ORDER

The Purchaser shall consider placement of orders for commercial supplies only on those eligible bidders whose offers have been found technically, commercially and financially acceptable and whose goods have been type approved/ validated by the purchaser. The purchaser reserves the right to counter offer price(s) against price(s) quoted by any bidder.

25. PURCHASER’S RIGHT TO VARY QUANTITIES

25(i) The Purchaser will have the right to increase or decrease the quantity of goods and services specified in the schedule of requirements without any change in the unit price or other terms and conditions at the time of award of contract.

25(ii) In exceptional situation where the requirement is of an emergent nature and it is necessary to ensure continued supplied from the existing vendors, the purchaser reserves the right to place repeat order up to 50% of the quantities of goods and services contained in the running tender/ contract within a period of twelve months from the date of acceptance of 1st LOI at the same rate or a rate negotiated (downwardly) with the existing vendors considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc.

26. PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to the award of the contract without assigning any reason whatsoever and without thereby incurring any liability to the affected bidder or bidders on the grounds of purchaser’s action.

27. ISSUE OF LETTER OF INTENT (LOI)

27(i) The issue of an LOI shall constitute the intention of the purchaser to enter into contract with the bidder.

27(ii) The bidder shall within 7 days of issue of the LOI, give his acceptance (by signing each page of LOI) along with performance security in conformity with Annexure – I provided with the bid document.

28. SIGNING OF CONTRACT

28(i) The issue of Purchase Order shall constitute the award of contract on the bidder.

28(ii) Upon the successful bidder furnishing performance security pursuant to clause 27, the Purchaser shall discharge the bid security in pursuant to clause 12.

29. ANNULMENT OF AWARD

Failure of the successful bidder to comply with the requirement of clause 28 shall constitute sufficient ground for the annulment of the award and the forfeiture of the bid security in which event the purchaser may make the award to any other bidder at the discretion of the purchaser or call for new bids.

30. QUALITY ASSURANCE REQUIREMENTS

The supplier shall have Quality Management System supported and evidenced by the following:

- A Quality Policy.

- A management representative with authority and responsibility for fulfilling QA requirements and for interfacing the purchaser in the matters of Quality.

- Procedure for controlling design/production engineering, materials, choice of components/vendors, manufacturing and packaging process for supplying quality products.

- System of Inward Good inspection as mentioned in clause 34.

- System to calibrate and maintain required measuring and test equipment.

- System for tracing the cause for non-conformance (trace ability) and segregating product which don’t conform to specifications.

- Configuration management and change-control mechanism.

- A quality plan for the product.

- Periodical internal quality audits.

- A ‘Quality Manual’ detailing the above Or infrastructure assessment certificate and Type Approval Certificate issued by “TEC” shall be furnished.

31. SUMMARY REJECTION OF BIDS

While all the conditions specified in the bid document are critical and are to be complied, special attention of bidder is invited to the following clauses of the bid document. Non-compliance of any one of which shall result in out right rejection of the bid.

31(i) Clause 15(i) of Section-II: The bids will be recorded/returned unopened if covers are not properly sealed with ‘PERSONAL SEAL’ of the bidder.

31(ii) Clauses 12(i), 12(ii) & 13(i) of Section-II: The bids will be rejected at opening stage if bid security is not submitted as per clauses 12(i) & 12(ii) and bid validity is less than the period prescribed in clause 13(i) mentioned above.

31(iii) Clause 2 & 10 of Section-II: If the eligibility condition as per clause 2 of Section-II is not met and/or documents prescribed to establish the eligibility as per clause 10 of Section-II are not enclosed, the bids will be rejected without further evaluation.

31(iv) Clause 11.2 (c) of Section-II: If clause-by-clause compliance and deviation statements as prescribed are not given, the bid will be rejected at the stage of primary evaluation. In case of no deviations, a statement to that effect must be given.

31(v) Section-IV, Section-V & Section-VI, Technical Specifications: Compliance if given using ambiguous words like “Noted”, “Understood”, “Noted & Understood” shall not be accepted as complied. Mere “Complied” will also be not sufficient, the specification of the parameter should be given and reference to the enclosed documents showing compliances must be given.

31(vi) Section-VI, Price Schedule: Prices are not filled in as prescribed in price schedule.

31(vii) Section-II clause 9(v) on discount which is reproduced below:

“Discount, if any, offered by the bidder shall not be considered unless specifically indicated in the price schedule. Bidders desiring to offer discount shall therefore modify their offer suitably while quoting and shall quote clearly net price taking all such factors like Discount, free supply etc. into account”.

32. DISQUALIFICATION FOR HABITUAL DEFAULTER

Purchaser reserves the right to disqualify the supplier for a suitable period who habitually failed to supply the equipment in time. Further, the suppliers whose equipment do not perform satisfactory in the field in accordance with the specifications may also be disqualified for a suitable period as decided by the purchaser.

33. BLACKLISTING OF DEFAULTING BIDDER

33(i) Purchaser reserves the right to blacklist a bidder for a suitable period in case he fails to honors his bid without sufficient grounds.

33(ii) The bidder should give a certificate that none of his/her near relative is working at High Court, Allahabad and its Bench at Lucknow as defined below where he is going to apply for the tender. In case of proprietorship firm certificate will be given by the proprietor. For partnership firm certificate will be given by all the partners and in case of limited company by all the Directors of the company excluding Government of India/ Financial institution nominees and independent non official part time directors appointed by Govt. of India or the Government of the state. Due to any breach of these conditions by the company or firm or any other person the tender will be cancelled and bid security will be forfeited at any stage whenever it is noticed and Purchaser will not pay any damage to the company or firm or the concerned person. The company or firm or the person will also be debarred for further participation in High Court, Allahabad and its Bench at Lucknow. The near relatives for this purpose are defined as:

(a) Members of a Hindu undivided family.

(b) They are husband and wife.

(c) The one is related to the other in the manner as father, mother, son(s) & son’s wife (daughter in law), daughter (s) and daughter’s husband (son in law), brother(s) and brother’s wife, sister(s) and sister’s husband (brother in law).

34. PRE-DISPATCH INSPECTION AND ACCEPTANCE TEST

34(i) Pre-Dispatch Inspection of all the ordered items (hardware/software) shall be carried out by a team of technical experts at the manufacturing plant/ wherever situated in India or at local office of the Bidder at Allahabad prior to delivery of the items at respective sites. Acceptance will be conducted by team of technical experts sent by Purchaser in presence of the Bidder on all the ordered items to ascertain that the items to be delivered are as per ordered technical specifications and of the acceptable quality. A set of all the diagnostic tools and techniques to test Computers, other items and softwares shall be provided by the Bidder to the team of technical experts sent by Purchaser along with the physical inspection and testing schedule prior to inviting Purchaser for inspection and testing of the items at the Bidder’s office/factory. The items must be as per ordered technical specifications or higher technical specifications only. No incomplete systems will be accepted under any circumstances. The systems should also contain same subsystems (brand/make) as quoted in the tender. It shall be the exclusive responsibility of the Bidder to provide appropriate device drivers alongwith the systems. Failure to fulfill any of above mentioned conditions will lead to the rejection of the items during inspection and acceptance testing of the items. The items which will be inspected and accepted during Pre-Dispatch Inspection by the team of technical experts sent by Purchaser shall be packed by the Bidder and the representatives of Purchaser will put a unique number, their seal and signature on each of the packet. The Bidder will deliver the sealed packets to the respective sites after pre dispatch inspection. The Bidder will make all the arrangements for lodging, fooding & local transportation etc. of the team members (team of technical experts sent by Purchaser) during Pre-Dispatch Inspection of the items at the Bidder’s cost.

34(ii) If at any stage during Pre-Dispatch Inspection, it is found that computers, softwares and other related items are not ready or not of acceptable quality, Purchaser reserves the right to cancel the Purchase Order and forfeit the Earnest Money Deposit.

34(iii) Acceptance Test of all the items shall be conducted after delivery of same at High Court, Allahabad and its Bench at Lucknow and fulfillment of all requirements as per the Terms and Conditions of the Conveyance Deed to ensure that items are same which were inspected before dispatch: are as per technical specifications mentioned in Purchase Order and or delivered in good working condition.

35. DELIVERY, INSTALLATION & COMMISSIONING OF ITEMS

34(i) The delivery of computers and other related items to be ordered shall be made by the bidder within 6 weeks from the date of issue of the purchase order by Purchaser to the bidder. All the deliveries should be on CIF basis. If any loss or damage occurs in transit then it will be the responsibility of the bidder to make good the loss, within the time stipulated in the tender/purchase order for installation. The bidder may take necessary action to claim the insurance money, for the item(s) lost/damaged during transit, from insurance Company at his own level.

34(ii) All the items to be supplied should be new, of good quality and standard and as per the technical specifications mentioned in technical bid document.

34(iii) The bidder will provide operational manuals, OEM documents for peripherals, set of diagnostics to test all the sub-systems etc. along with the systems. All the softwares should be supplied along with the media, manuals and requisite licenses.

(iv) The installation of all the items in the High Court, Allahabad and it’s Bench at Lucknow will have to be completed satisfactorily within twelve weeks from the date of issue of the purchase order by Purchaser to the bidder failing which the Purchase Order may be cancelled.

36. COMPENSATION

36(i) If delivery/installation of the items is not made within above stipulated period, the compensation will be payable for non-adherence to the committed delivery/installation schedules by the bidder to Purchase  as follows: -

0.5% of the total order value per week of delay in delivery of computers, other items & softwares subject to maximum of 5.0% of total order value.

0.5% of the total order value per week of delay attributable to bidder in installation of all the items subject to a maximum of 5.0% of total order value.

36(ii) Purchaser reserves the right to cancel the total/part purchase order, if the delivery gets delayed more than 4 weeks from the stipulated period of 6 weeks given in the Purchase Order. Penalty as mentioned in clause 15 above shall however be applicable even if the order is cancelled in part or full. Purchaser shall have no responsibility what-so-ever for any damages sustained by the bidder due to cancellation of the purchase order. In such case, the earnest money deposited by the bidder in Purchaser shall be forfeited in full.

36(iii) Purchaser reserves the right to reject any items supplied against the purchase order, if found not working satisfactorily at the time of installation at site(s). The rejected items, if any, shall have to be taken back and replaced by good quality items forthwith at the cost of the supplier. No payment will be made for the rejected item(s).

36(iv) If the installation of the items at site gets delayed from the stipulated period given above and to be given in the Purchase Order, then Purchaser reserves the right to forfeit the earnest money deposited by the bidder in Purchaser and the balance payment, if any, due to the supplier for the items supplied against the purchase order shall be forfeited.

36(v) If site is not ready, then the items will be shifted from the place of delivery to the place of installation and installed within a week's time by the bidder at the site(s) to be identified and informed by user department.

37. JURISDICTION

All disputes are subject to Allahabad jurisdiction.

DECLARATION BY THE BIDDER

It is hereby declared that I/We the undersigned, have read and examined all the terms and conditions etc. of the tender document for which I/We have signed and submitted the tender under proper lawful Power of Attorney. It is also certified that all the terms and conditions of the tender document are fully acceptable to me/us and I/We will abide by all the clauses from serial no. 1 to 33. This is also certified that I/We/our principal manufacturing firm has no objection in signing the purchase contract if the opportunity for the supply of the items against this tender is given to me/us.

Date: 								Signature:

Address: 							Name:

Designation:

On behalf of:

(Company Seal)

Section III: Schedule of Requirement

Schedule I: Servers (Tower Models)

1(a). Server - Dual Processor based (All the options have to be quoted).

(i) AMD Based (Option – 1)

| Parameters | Specification |
| --- | --- |
| Processor | 2 x Dual Core AMD Opteron 2218 2.6 GHz or higher with 1MB or more cache per core. |
| Chipset | Either of the following :- AMD Chipset 8111 & 8132 Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset |
| Memory Protection | Advanced ECC. |
| Memory | 16 GB PC2-5300 DDR2 667MHz |
| Memory Expandability | Atleast 24 GB |
| Storage | 8 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5. |
| Disk Bays | Hot Plug capable at least 8 Disk Bays. |
| RAID Controller | SAS Disk Array Controllers with 256 MB cache with battery backup on PCI Express x8 and supporting RAID levels 0,1,10 and 5. The controller should support online hot spare. |
| Power Supply | N+1 Hot Plug Redundant Power Supply with separate AC inlets for all power modules. |
| Network | 3 Nos. Gigabit Ethernet controller |
| Graphics Card | Internal PCI VGA with minimum 8 MB Video RAM ATI Rage |
| PCI | Atleast 2 Nos. 64-bit 133 Mhz PCI-X, 1No. PCI Express x4 and 1 No. x8 slots. |
| I/O Ports | At least 1 parallel, 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port. |
| Floppy Drive | Internal 3.5” 1.44 MB floppy drive |
| CD Drive | Internal IDE DVD Writer with 18X write speed or higher |
| Backup Device | Internal Digital Linear Tape (DLT) Drive with 40/80 GB or higher. |
| Monitor / Keyboard /Mouse | 17” colour TFT monitor, keyboard, Optical Scroll Mouse with pad |
| Server Management Software | Web based monitoring for: - Support Remote Access & Remote monitoring Server trouble shooting Health Indicator and Corrective Action including Auto Mated Power Cycling OS Watch DOG Timer and Fault Resilient Booting Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. |
| Other features, if any | Support Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput |
| Certification | Red Hat, SUSE Ready, Microsoft, ISO 9001, 14001, MAIT |
| Warranty | 3 years comprehensive on-site warranty. |

(ii) Intel Based (Option – 2)

| Parameters | Specification |
| --- | --- |
| Processor | 2 x Dual Core Intel Xeon DP CPU 3.6 GHz or higher with 2MB L2 or more cache. |
| Chipset | Intel 5000p |
| FSB | 1333 MHz or higher |
| Memory | 16 GB PC2-5300 Fully Buffered DDR2-667 MHz |
| Memory Expandability | Atleast 24 GB |
| Storage | 8 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5. |
| RAID Controller | SAS Disk Array Controllers with 256 MB cache with battery backup on PCI Express x8 and supporting RAID levels 0,1,10 and 5. The controller should support online hot spare. |
| Disk Bays | Hot Plug capable at least 8 Disk Bays. |
| Power Supply | N+1 Hot Plug Redundant Power Supply with separate AC inlets for all power modules. |
| Network | 3 Nos. Gigabit Ethernet controller |
| Graphics Card | Internal PCI VGA with minimum 8 MB Video RAM ATI Rage |
| PCI | Atleast 4 with two hot-plug 64-bit/100/133 Mhz PCI-X and two PCI Express x4/x8 slots. |
| I/O Ports | At least 1 parallel, 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port. |
| Floppy Drive | Internal 3.5” 1.44 MB floppy drive |
| CD Drive | Internal IDE DVD Writer with 18X write speed or higher |
| Backup Device | Internal Digital Linear Tape (DLT) Drive with 40/80 GB or higher. |
| Monitor / Keyboard /Mouse | 17” colour TFT monitor, keyboard, Optical Scroll Mouse with pad |
| Server Management Software | Web based monitoring for: - Support Remote Access & Remote monitoring Server trouble shooting Health Indicator and Corrective Action including Auto Mated Power Cycling OS Watch DOG Timer and Fault Resilient Booting. Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. |
| Other features, if any | Support Intel’s new Extended Memory 64 Technology, Intel E7520 MCH provides, Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput |
| Certification | Red Hat, SUSE Ready, Microsoft, ISO 9001, 14001, MAIT |
| Warranty | 3 years comprehensive on-site warranty. |

1(b). Operating System for Servers (1(a)).

| Operating System | Red Hat Enterprise Linux 4.0 AS or latest with subscription for three years for upgrades, updates and patches. |
| --- | --- |

1(c). Server - Single Processor based (Tower Models) (All the options have to be quoted).

(i) AMD Based (Option –1)

| Parameter | Specification |
| --- | --- |
| Processor | Single processor Dual Core AMD Opteron 2218 2.6 GHz or higher with 1MB or more cache per core. |
| Chipset | Either of the following :- AMD Chipset 8111 & 8132 Broadcom Serverworks HT-2100 Northbridge and HT1000 Southbridge Chipset |
| Memory Protection | Advanced ECC. |
| Memory | 4 GB DDR2 667MHz |
| Memory Expandability | Atleast 8 GB |
| Storage | 6 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5. |
| Disk Bays | Hot Plug capable at least 6 Disk Bays. |
| RAID Controller | SAS Disk Array Controllers with 64 MB cache with battery backup on PCI Express x8 and supporting RAID levels 0,1,10 and 5. |
| Power Supply | N+1 Hot Plug Redundant Power Supply with separate AC inlets for all power modules. |
| Network | 3 Nos. Gigabit Ethernet controller |
| Graphics Card | Internal PCI VGA with minimum 8 MB Video RAM ATI Rage |
| PCI | Atleast 2 Nos. 64-bit 133 Mhz PCI-X, 1No. PCI Express 4x and 1 No. 8x slots. |
| I/O Ports | At least 1 parallel, 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port. |
| Floppy Drive | Internal 3.5” 1.44 MB floppy drive |
| CD Drive | Internal IDE DVD Writer with 18X write speed or higher |
| Backup Device | Internal Digital Linear Tape (DLT) Drive 40/80 GB. |
| Monitor / Keyboard /Mouse | 17” colour TFT monitor, keyboard, Optical Scroll Mouse with pad |
| Server Management Software | Web based monitoring for: - Support Remote Access & Remote monitoring Server trouble shooting Health Indicator and Corrective Action including Auto Mated Power Cycling OS Watch DOG Timer and Fault Resilient Booting Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. |
| Other features, if any | Support Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput |
| Certification | Red Hat, SUSE Ready, Microsoft, ISO 9001, 14001, MAIT |
| Operating System | Red Hat Enterprise Linux 4.0 AS or latest with subscription for three years for upgrades, updates and patches. |
| Warranty | 3 years comprehensive on-site warranty. |

(ii) Intel Based – (Option – 2)

| Parameter | Specification |
| --- | --- |
| Processor | Single processor Dual Core Intel Xeon 2218 2.6 GHz or higher with 2MB or more L2 cache. |
| Chipset | Intel 3000 |
| FSB | 1066 MHz |
| Memory Protection | Advanced ECC. |
| Memory | 4 GB PC5300 DDR2 667MHz |
| Memory Expandability | Atleast 8 GB |
| Storage | 6 Nos. Hot Plug 146GB 3Gb/sec SAS Disks with 15000 RPM or higher in RAID-5. |
| Disk Bays | Hot Plug capable at least 6 Disk Bays. |
| RAID Controller | SAS Disk Array Controllers with 64 MB cache with battery backup on PCI Express x8 and supporting RAID levels 0,1,10 and 5. |
| Power Supply | N+1 Hot Plug Redundant Power Supply with separate AC inlets for all power modules. |
| Network | 3 Nos. Gigabit Ethernet controller |
| Graphics Card | Internal PCI VGA with minimum 8 MB Video RAM ATI Rage |
| PCI | Atleast 2 Nos. 64-bit 133 Mhz PCI-X, 1No. PCI Express 4x and 1 No. 8x slots. |
| I/O Ports | At least 1 parallel, 1 serial and 4 Nos. USB 2.0(2 in front and 2 in rear), 3 RJ45 Port, 1 PS/2 Keyboard Port, 1 PS/2 Mouse Port. |
| Floppy Drive | Internal 3.5” 1.44 MB floppy drive |
| CD Drive | Internal IDE DVD Writer with 18X write speed or higher |
| Backup Device | Internal Digital Linear Tape (DLT) Drive 40/80 GB. |
| Monitor / Keyboard /Mouse | 17” colour TFT monitor, keyboard, Optical Scroll Mouse with pad |
| Server Management Software | Web based monitoring for: - Support Remote Access & Remote monitoring Server trouble shooting Health Indicator and Corrective Action including Auto Mated Power Cycling OS Watch DOG Timer and Fault Resilient Booting Raid Array Diagnostic Tool with ability to view Disc status and array status with pre-failure warning capability. |
| Other features, if any | Support Memory Mirroring/Memory Sparring, Hardware Periodic Memory Scrubbing for Enhanced Memory throughput |
| Certification | Red Hat, SUSE Ready, Microsoft, ISO 9001, 14001, MAIT |
| Operating System | Red Hat Enterprise Linux 4.0 AS or latest with subscription for three years for upgrades, updates and patches. |
| Warranty | 3 years comprehensive on-site warranty. |

1(d). Operating System for Servers (1(c))

| Operating System | Red Hat Enterprise Linux 4.0 AS or latest with subscription for three years for upgrades, updates and patches. |
| --- | --- |

###### Schedule II : Desktop Computers.

| Parameter | Specification |
| --- | --- |
| Processor | AMD Athlon 64 X2 Dual-Core 4200+ processor 2.2 GHz (512KB + 512KB) 1 MB L2 cache 2000 MHz with Hyper Transport Technology 2000 MHz bi-directional. |
| Memory | 1 GB DDR2-800 |
| Hard Disk | 160-GB SATA 3.0 Gb/s 7200 RPM |
| Optical Drive | 16X DVD+/-RW Writer |
| Monitor | 17” TFT |
| Graphics | On-board graphics card. The graphics card should support AIGLX. |
| Sound | On-board High definition integrated stereo sound |
| Network | 1 No. Gigabit Ethernet Adapter. |
| Keyboard | PS2 Keyboard |
| Mouse | Optical Scroll Mouse with mouse pad. |
| Slots | 2 Nos. PCI slots 2 Nos. PCI Express slots |
| Ports | In Rear 2 Nos. USB 2.0 port. 1 No. Parallel port 1 No. Serial port 1 No. PS/2 Keyboard port 1 No. PS/2 Mouse port. 1 No. RJ-45 port. 1 No. Audio-in port. 1 No. Audio-out port 1 No. VGA port In Front 2 Nos. USB 2.0 ports. 1 No. Microphone-in port. 1 No. Line-out/Headphone port. |
| Operating System | Red Hat Enterprise Linux Workstation 4 or latest with 3 years subscription for upgrades patches and support. |
| Softwares | Preloaded Open Office Suite 2.0.4 software or latest having support for Devanagari script with Unicode font and available in Remington/ Phonetic/ Transliteration/ Inscript keyboard layouts. |
| Warranty | 3-years on-site comprehensive warranty. |

Schedule III : Laptops

| Parameters | Specification |
| --- | --- |
| Core Technology | Intel Centrino Dual Mobile Technology. |
| Processor | Intel Core 2 Duo Processor T5600 1.83 GHz, 667 FSB, 2MB-L2 cache or higher |
| Chipset | Mobile Intel 945GM Express Chipset with 667-MHz FSB |
| Memory | DDR2 512MB 667-MHz Two SODIMM slots supporting dual channel memory supporting 512MB/1GB/2GB modules Upgradeable to 4GB or more. |
| Hard Drive | Shock Proof 80 GB SMART 7200 RPM |
| Display | 15 inch WXGA (1280 x 800 resolution and 16M colors) or better |
| Graphics | Integrated Intel GMA 950 with up to 128MB shared memory. |
| Audio | High definition integrated stereo sound. Sound Card should support external microphone Line out/headphone jack External Microphone jack Integrated microphone |
| Optical Storage | EIDE 8X DVD+/-RW DVD Writer or higher |
| Wireless Support | Integrated Wi-fi Adapter supporting IEEE 802.11a/b/g Network Standard. Integrated Bluetooth adapter supporting Bluetooth 2.0 standard. |
| Communication | Integrated 10/100 ethernet. Integrated 56K v.92 Modem Integrated Infrared port compatible with IrDA Standards 1.1 (Fast IR) and 1.0 (Slow IR). |
| Expansion Slots | 1 Type I/II PC Card slot supports 32-bit CardBus and 16-bit cards. Integrated Smart Card Reader 4 in 1 or better. |
| Ports and Connectors | Atleast 2 Nos. USB 2.0 ports 1 No. VGA port (15-pin monitor connector) 1 No.Audio in connector 1 No. Audio out connector Power Connector 1 No. RJ-11 connector 1 No. RJ-45 connector 1 No. S-video TV out connector 1 No. IEEE 1394 firewire port 1 No. Serial port Docking Connector Accessory battery connector |
| Input Devices | Full sized keyboard Two button touchpad with scroll feature. |
| Security | Kensington Lock Slot |
| Power | Atleast 4 Hours battery backup Battery Charger should work in 90-250V AC range. |
| Operating System | Red Hat Enterprise Linux 4 Desktop Edition with subscription of three years for support, upgrade and patches and Microsoft Windows XP Professional in dual boot mode. |
| Softwares | Open Office 2.0.4 or latest preloaded on Windows and Linux paritions. Norton Antivirus 2006 or higher with subscription of three years. Support for Devanagari script with Unicode font and available in Remington/ Phonetic/ Transliteration/ Inscript keyboard layouts in Linux and Windows. |
| Warranty | Comprehensive 3 years on-site warranty including that of batteries. |

Schedule IV: Thin Clients.

| Parameter | Specification |
| --- | --- |
| Processor | AMD Geode NX 1 GHz or above Fan Less Embedded Processor |
| Operating System | Embedded Red Hat Enterprise Linux 4 and above. Compressed read-only file system. NFS and Samba file system support. CUPS/LPR/LPD and Samba print support for Deskjet, Laserjet and Dot Matrix printers. X11R6 local Windows manager. Password protected setup. |
| Local Applications | Local Red Hat Enterprise Linux 4 with Open Office 2.0.4 or latest Firefox 1.5.x with Sun JVM 1.5 upwards support Adobe Acrobat Reader (Latest version) Flash Player Local Mail Client Support. |
| Memory | 512 MB SODIMM DDR Memory upgradeable to 1GB or more. |
| Flash ROM | 512 MB IDE Flash |
| Audio | 1/8-inch mini microphone, Internal Stereo amplified speaker, 1/8-inch mini full 16-bit stereo |
| I/O | 1 Serial, 1 Parallel port, 4 USB 2.0 ports, 2 PS2 ports, Hardware 1/8” Stereo audio output+8-bit mini mike input, VGA type video output on DB-15 type. Plug and Play (PnP) support for an array of USB Devices. |
| Networking | Integrated 10/100 Mbps auto sensing Ethernet with RJ-45 connector. TCP/IP with DNS and DHCP. Wake on LAN DHCP support for automatic upgrades and unit configuration. PPP |
| Other Protocols | NFS, PXE, SNMP, SSH, PPTP(VPN), PPPoE, Wireless LAN 802.11 support Support for Dial-up networking on serial port. |
| Display | Supports upto 1024x768 resolution @60 Hz, supports 32-bit true colour. |
| Security | Password Protection setup. Kensington Lock Support |
| USB Storage | Supports USB pen drive, Floppy drive, Zip drive in RDP, ICA and XDMCP sessions. |
| Multiple Sessions | Mulitiple X11R6, XDMCP, RDP, ICA, Terminal Emulation sessions support. Capability to auto-start multiple sessions for multiple users stored locally. |
| User Interface | Desktop/Kiosk mode options. Ability to switch between sessions with single mouse click in desktop mode. |
| Monitor | 15” TFT with VESA mounting support. |
| Mouse and Keyboard | PS/2 optical mouse with pad and PS/2 104 keys mechanical keyboard. |
| Server OS Support | Linux(Red Hat,SUSE)/Unix (HP-UX,AIX,Solaris) Windows NT-TSE, Windows 2000, Windows 2003. Citrix WinFrame, MetaFrame. |
| Emulation | ICA for Citrix – Support to connect to multiple Citrix servers simultaneously. RDesktop for connecting to Windows Terminal Servers. XDMCP for Unix and Linux GUI. Complete Terminal Emulation Suite supporting emulations like VT100,VT220,ANSI, etc with ability to program multiple function keys. |
| Smart Card Reader | Internal / External Smart Card Reader. |
| Additional Features | Local Print Queue Manager. Should be able to cancel any print job from client. |
| Power Supply | 50 Watts or less power supply. No moving parts in the Thin Client. |
| Mounting of Thin Clients | Desktop/Vertical VESA Mounting with kit. |
| Regulatory Standards | Regulatory standards FCC, UL and RoHS compliant. |
| Management Tool (to be supplied as part of Thin Client Management Software) | Thin Client Management software tool complaint with HTTP/HTTPS/SNMP with following features: - Single Deployment; Secure Management; Remote management, configuration and upgrades through management software; Complete image upgrade; Send messages; Easy migration; Wake Client Remotely (Wake on LAN) Remote Screen Shadowing of entire desktop (via VNC viewer); PXE BIOS for image network boot. |
| Warranty | Comprehensive on-site warranty for three years. Free software patch images and upgrades for 7 years. |

Schedule V : Laser Printers.

5(a). Laser Printers (Heavy Duty)

| Parameters | Specifications |
| --- | --- |
| Print Speed | 45 ppm |
| Resolution | 1200 dpi |
| Processor | 460 MHz |
| Memory | 64 MB |
| Compact Flash Slots | Two open industry-standard Compact Flash slots |
| Duty Cycle | 2,00,000 pages per month |
| Media | Input trays | 100-sheet multipurpose tray 1, 500-sheet input trays 2 and 3 |
|  | Output trays | 50-sheet rear output bin, 250-sheet top output bin |
|  | Sizes | Multipurpose tray | 3” x 5” to 8.5” x14, letter, legal, executive, statement, envelopes |
|  |  | 500 sheet input trays | 5.8” x 8.3” to 8.5” x 14”, letter, legal, executive, statement |
|  | Types | Paper (plain, preprinted, letterhead, pre-punched, bond, recycled, color, rough), transparencies, labels, envelopes, cardstock, user-defined |
| Interfaces | Hi-Speed USB 2.0, IEEE 1284 Parallel Port, Embedded 10/100 Ethernet port |
| Client Operating System | Linux, Unix, Windows 98, Me, NT 4.0, 2000, XP, Server 2003 |
| Network Operating System | Red Hat Linux 6.x and later; SuSE Linux 6.x and later; Windows 98, Me, NT 4.0, 2000, XP, XP 64-Bit, Server 2003, Solaris 2.5x, 2.6, 7, 8, 9, 10, Citrix MetaFrame; Windows Terminal Services |
| Network Protocols | TCP/IP, IPX/SPX, FTP, Telnet, IGMP, BOOTP/DHCP, WINS, SNMP (v 1, 2, 3), HTTP |
| Management | Web-based management tool for remotely installing, configuring, and managing the printer using a standard Web browser. Administrators using browser should be able to configure devices, conduct remote diagnostics, download and install firmware. |
| Warranty | 3 years comprehensive on-site warranty. |

5(b). Laser Printers

| Parameter | Specification |
| --- | --- |
| Print Technology | Laser (Black) |
| Print Resolution | 1200 x 1200 dpi |
| Print Speed | 20 ppm |
| Processor | 133 Mhz or Higher |
| Memory | 16MB expandable up to 144 MB |
| Interface | IEEE 1284 Parallel, “Hi-Speed” USB2.0 |
| Compatible Operating System | Red Hat Linux, Microsoft Windows - 95, 98, NT, Me, 2000, XP, SUSE, SOLARIS |
| Network Ready | Yes |
| Warranty | Three Years Comprehensive on-site warranty. |

## Schedule VI : Line Matrix Printers

| Parameter | Specification |
| --- | --- |
| Print Method | Impact Line Matrix |
| Print Speed | Print Speed (LPM, upper case characters, lower case characters) :- High Speed – 1200/1028 Graphics Speed :- 60 x 72 dpi – 100 inches per minute |
| Typefaces | High Speed, Data Processing, Near Letter Quality |
| Character Pitch | 10,12,13.3,15,17.1,20 |
| Line Spacing | 6,8,10.3,n/72,n/216 |
| Minimum Resolution | 180 dpi(H) x 144 dpi(V) |
| Printable Width | 2.5” to 18.9” |
| Emulations | Serial matrix printer, Epson FX 1800, IBM ProPrinter III XL, Printronix P Series, Printronix P Series XQ, DEC LG, ANSI 3.64 |
| Resident Character Sets | Unicode UTF-8, IBM World Trade, ECMA Latin-1, DEC Multinational, IBM Code Page 437 and 850, OCR A, OCR B |
| Fonts | High Speed, Data Processing, Serif, Sans Serif, OCR-A, OCR-B |
| Character Styles | Bold, italic, superscript, subscript, underline, overstrike, strike through |
| Bar Codes | Code 39, Code 128, interleaved 2/5, UPC-A,UPC-E, EAN 8, EAN 13, EAN 128, Codabar, Identicon 2 to 5, MSI, POSTNET, Royal Mail, PDF 417 |
| Paper Handling | Type | Fan folded, Continuous, Edge-perforation |
|  | Width | 3” to 17” |
|  | Copies | Upto 6 parts |
|  | Thickness | 0.025” |
|  | Paper Path | Straight through paper path with easy-load dual adjustable tractors |
|  | Feed | Bottom feed |
|  | Forms Control | 14 and 12 channel electronic vertical format unit, paper-out detector and alarm, paper motion detector and alarm. |
| Interface | IEEE-1284 Parallel Port, RS-232, Ethernet 10/100 and Wireless 802.11b/g. |
| Ribbon | With text application, bar code and OCR – 90 million characters capacity. |
| Acoustic Noise | 55dB |
| Driver Availability | Linux, Windows 95/98/NT/2000/ME/XP |
| Electrical Specification | Input Voltage | 150-270VAC |
|  | Frequency | 47 Hz – 60 Hz |
| Enclosure | Enclosed Cabinet with aesthetically pleasing colour and texture. The enclosure must have slide out paper trays. |
| Warranty | 3 years comprehensive on-site warranty. |

## Schedule VII : Dot Matrix Printers

7(a) Dot Matrix Printers – 136 columns

| Parameter | Specification |
| --- | --- |
| Printer Type | 136 column Dot Matrix |
| Number of Pins | 24 pins |
| Printing Direction | Bi-directional with logic seeking |
| Print Speed |  | 10 cpi | 12 cpi | 15 cpi |
|  | High Speed Draft | 400 | 450 | - |
|  | Draft | 300 | 360 | 450 |
|  | LQ | 100 | 120 | 150 |
| Fonts & Scripts | Draft, Roman, Sans Serif, Courier, Prestige, Script, HSD, OCR-A, OCR-B, Orator, Orator-S, Hindi Script |
| Printable Columns | Pitch (CPI) | Characters Per Line |
|  | 10 | 136 |
|  | 12 | 163 |
|  | 15 | 204 |
|  | 17 | 233 |
|  | 20 | 272 |
| Paper Handling | Paper Size | Cut Sheet | Width | 3.9” – 16.5” |
|  |  |  | Length | 3.9” – 16.5” |
|  |  | Continuous | Width | 4” – 16” |
|  |  |  | Length | 4” – 22” |
|  | Copies | Original + 5 |
| Input Data Buffer | 64 KB |
| Interface | IEEE-1284 Bi-directional parallel interface and RS-232 Serial Interface |
| Ribbon Cartridge | Colour | Black |
|  | Life | 3 million characters in draft mode |
| Acoustic Noise | 62dB |
|  | MTBF | 10,000hrs @ 25% duty cycle |
|  | Print Head Life | 300 million dots/pin |
| Electrical Specification | Input Voltage | 150-270VAC |
| Driver Availability | Linux, Windows 9X,NT, 2000,ME, XP, MS-DOS |
| Warranty | 3 years comprehensive on-site warranty. |

7(b) Dot Matrix Printers – 80 column

| Parameter | Specification |
| --- | --- |
| Printer Type | 80 column Dot Matrix |
| Number of Pins | 24 pins |
| Printing Direction | Bi-directional with logic seeking |
| Print Speed |  | 10 cpi | 12 cpi | 15 cpi |
|  | High Speed Draft | 300 | - | - |
|  | Draft | 200 | 240 | 300 |
|  | LQ | 66 | 80 | 100 |
| Fonts & Scripts | Draft, Roman, Sans Serif, Courier, Prestige, Script, Hindi Scripts |
| Printable Columns | Pitch (CPI) | Characters Per Line |
|  | 10 | 80 |
|  | 12 | 96 |
|  | 15 | 120 |
|  | 17 condensed | 137 |
|  | 20 condensed | 160 |
| Paper Handling | Paper Size | Cut Sheet Width | 3.9 ~ 10.0" |
|  |  | Continuous Width | 4.0 ~ 10.0" |
|  | Copies | Original + 2 |
| Input Data Buffer | 64 KB |
| Interface | IEEE-1284 Bi-directional parallel interface |
| Ribbon Cartridge | Colour | Black |
|  | Life | 3 million characters in draft mode |
| Acoustic Noise | 62dB |
|  | MTBF | 6000hrs @ 25% duty cycle |
|  | Print Head Life | 150 million dots/pin |
| Electrical Specification | Input Voltage | 150-270VAC |
| Driver Availability | Linux, Windows 9X,NT, 2000,ME, XP, MS-DOS |
| Warranty | 3 years comprehensive on-site warranty. |

Schedule VIII :  Managed Switches (All the options have to be quoted).

8(a) Cisco Catalyst 2960-24TC Switch (Option – 1)

24 Ethernet 10/100 ports with (unpopulated) option for adding 2 Nos. fibre based Small Form-Factor Pluggable (SFP) based dual-purpose uplink ports in future. Warranty - 3 years comprehensive on-site warranty.

8(b) Cisco Catalyst Express 500-24PC Switch (Option – 2)

24 Ethernet 10/100 ports with (unpopulated) option for adding 2 Nos. fibre based Small Form-Factor Pluggable (SFP) based dual-purpose uplink ports in future. Warranty - 3 years comprehensive on-site warranty.

8(c) Managed Switch of make and models other than 8(a) and 8(b) and with the following specification. (Option – 3)

| Parameter | Specification |
| --- | --- |
| Type | Layer 2 |
| Backplane | Switching Fabric/Backplane: 8.8 Gbps |
| Forwarding Bandwidth | 8.8 Gbps |
| Forwarding Rate | 6.5 Mpps |
| MAC Address Support | 8000 |
| Memory | 64MB DRAM 32 MB flash memory |
| Network Timing Protocol (NTP) | NTP should be supported and available. |
| Virtual Stack | Support for 16 geographically distributed switches to be connected into a single virtual stack and managed entity. |
| DHCP Snooping | DHCP Snooping with DHCP Interface Tracker (Option 82) feature. |
| TFTP | TFTP support for downloading and uploading the software for administering software upgrades. |
| Storm Control | Should have per-port broadcast, multicast, and unicast storm control. |
| VLAN | Minimum 32 VLANs per switch should be supported VLAN trunking based on 802.1q standards |
| Bandwidth Aggregation | Bandwidth aggregation up to 8 Gbps through Gigabit EtherChannel technology and up to 800 Mbps through Fast EtherChannel technology enhancing fault tolerance and offering higher-speed aggregated bandwidth between switches and to routers and individual servers. |
| Management | Should have embedded support for web based management using a standard web browser. Command Line Interface for management. |
| RMON | The switch should have an embedded Remote Minitoring (RMON) for enhanced traffic management, monitoring, and analysis. The software agent should support four RMON groups i.e. history, statistics, alarms, and events. |
| Spanning Tree Protocol | STP enhancements for faster uplink failover recovery using the following: Uplinkfast Backbonefast IEEE 802.1w (Rapid Spanning Tree protocol) Per VLAN spanning tree (PVST) to utilize all the uplinks instead of a single uplink. |
| SNMP | Should have built-in support for SNMP version 1, SNMP version 2 and SNMP version 3. |
| Port Monitoring and Security | 802.1x port based authentication for preventing unauthorized access. TACAS+ and RADIUS authentication for centralized control. Multilevel security on console access prevents unauthorized users from altering the switch configuration. Port Mirroring and Monitoring such as SPAN and RSPAN for local and remote port monitoring. Port security feature to restrict input to a network interface by limiting and identifying MAC addresses of the stations allowed to access the port. Rate limiting to police traffic on egress including MAC source and destination address. IGMP filtering. Dynamic VLAN assignment. Spanning-Tree Root Guard (STRG). |
| IGMP | Support for IGMP snooping. Support for IGMP version 1 and version 2. Support for fast/immediate join and leave option. |
| Indicators | Per-port status :- Link integrity, disabled, activity, speed, full-duplex System Status :- System, link status, link duplex, link speed. |
| Power Supply | The system should have an internal power supply and should be adaptable to Indian conditions. |
| Warranty | 3 years comprehensive on-site warranty. |

## Schedule IX : 500VA Offline UPS

| Parameter | Specification |
| --- | --- |
| Capacity | 500VA |
| Mains Mode | Technology | MOSFET/IGBT |
|  | Load Power Factor | 0.6 or higher |
|  | Load Capacity | 300 Watts or higher |
| Battery | Internal and Sealed Maintenance Free |
| Back-up | Back-up time of 30 minutes on full resistive load of 300 watts |
| Battery Make | Panasonic / Exide / CSB / Yuasa / Orchid |
| Cold Start | Yes |
| Generator Compatibility | Yes |
| Protections | Short Circuit Surge/Spikes DC under voltage Discharge Protection Overload Protection |
| Display | UPS Status Battery Status |
| Alarms | Main Failure Low Battery |
| AC Output Sockets | Minimum 3 Nos. (230V/5A) for backup. Atleast 1 No. with only surge protection. |
| Phoneline/Modem Protection | Phone-line/Modem protection surge protection (RJ-11 jacks). |
| Interface | RS-232 / USB Interface. UPS monitoring software for Red Hat Enterprise Linux 4, Windows XP/2000/ME/98 with auto shutdown feature. |
| Warranty | 3 years comprehensive on-site warranty be quoted inclusive of battery. The bidder should have service centre both at Allahabad and Lucknow with atleast 2 engineers posted at each location. |

Section – IV : General Information

| 1. | Name of the Company |  |
| --- | --- | --- |
| 2. | Full address of company alongwith Contact Person Telephone no. Fax no. E-mail address: |  |
| 3. | Local address of company for communication, if any |  |
| 4(a). | Are you a manufacturer or dealer (Manufacturer or Dealer) |  |
| 4(b). | If listed with MAIT/NASCOMM (copies of certificate be attached) |  |
| 4(c). | If Company/Product/Services is ISO certified (copies of certificates be attached) |  |
| 5(a). | Annual turn over in last 3 financial years in Rs. Crores. Year 2003-2004 Year 2004-2005 Year 2005-2006 |  |
| 5(b) | Supply of Servers in last 3 financial years in U.P. Government or Govt. of India Department(s) / Organization(s) (in Nos.) Year 2003-2004 Year 2004-2005 Year 2005-2006 |  |
| 5(c). | Supply of Desktop PC computers in last 3 financial years in U.P. Government or Govt. of India Department(s) / Organization(s) (in Nos.) Year 2003-2004 Year 2004-2005 Year 2005-2006 |  |
| 5(d). | Trade Tax / Sales Tax Registration no. with place |  |
| 5(e). | Income Tax Registration no. with place |  |
| 6(a). | Strength of local office at Allahabad No. of Marketing Personnel No. of Technical Personnel (Qualification be also mentioned) No. of Supporting Staff |  |
| 6(b). | Strength of local office at Lucknow (in case of Desktop PC support) No. of Marketing Personnel No. of Technical Personnel (Qualification be also mentioned) No. of Supporting Staff |  |
| 7(a). | No. of Service Centres in Uttar Pradesh |  |
| 7(b). | Location of service centers(*) and location wise No. of Service Engineers posted in U.P. *For more service centers, enclose this information separately with Technical Bid. |  |
| 7 (c). | Company’s norm for posting one service engineer: On the basis of no. of Servers On the basis of no. of P.C.s On the basis of AMC Revenue (in lakh Rs.) |  |
| 8. | Environmental conditions requirement: Temperature (in Deg.C) Relative Humidity (%) | Min. Max. |
| 9. | Is air conditioning must for installing your machines (Yes or No) |  |
| 10(a). | Installation base of Servers in and around Allahabad/Lucknow. (Please enclose the list of Purchase Orders) |  |
| 10(b). | Installation base of Servers in Uttar Pradesh (in no.) (Please enclose the list of Purchase Orders) |  |
| 10(c). | Installation base of Desktop PCs in and around Allahabad/Lucknow. (Please enclose the list of Purchase Orders) |  |
| 10(d). | Installation base of Desktop PCs in Uttar Pradesh (in no.) (Please enclose the list of Purchase Orders) |  |
| 11. | Kindly enclose at least three after sales service Support certificates from your customers where you have supplied and installed PC computers to evaluate your service support performance. Total no. of service support certificates enclosed. |  |
| 12. | Any other information you feel necessary (Separate sheets may be used if required) |  |
| 13. | Schedules bided for | Schedules | Please tick the box corresponding to the schedule bided for | EMD Submitted (in Rs.) |
|  |  | I. Servers |  |  |
|  |  | II. Desktop Computers |  |  |
|  |  | III. Laptops |  |  |
|  |  | IV. Thin Clients |  |  |
|  |  | V. Laser Printers |  |  |
|  |  | VI. Line Matrix Printers |  |  |
|  |  | VII. Dot Matrix Printers |  |  |
|  |  | VIII. Managed Switches |  |  |
|  |  | IX. 500VA Offline UPS |  |  |
|  |  | Total of EMD for bided Schedules :- |  |
| 14. | Details of earnest money attached. Amount Rs. Bank Draft No. Bank Draft issuing date Drawn on (Bank) |  |

Section – V: Technical Bid

Schedule – I: Servers

1(a) Server - Dual Processor based (Enclose product data sheet in support).

(i) AMD Based  (Option – 1)

| Parameters | Specifications |
| --- | --- |
| Product Manufacturer’s Name |  |
| Model Name and No. |  |
| Processor | Processor Model No. |  |
|  | Type |  |
|  | Speed |  |
|  | FSB |  |
|  | L1 cache |  |
|  | L2 cache |  |
|  | L3 cache |  |
| Chipset | Model No. |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Total Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | Size of each memory module |  |
|  | No. of DIMMs on System Board |  |
|  | Maximum Memory Supported |  |
| System Fans (No. and its specification) (Mention whether Hot Plug). |  |
| Disk | Manufacturer |  |
|  | Model No. |  |
|  | Capacity |  |
|  | RPM |  |
| Storage Controller (Model and specification) | Manufacturer |  |
|  | Model No. |  |
|  | Specification |  |
| Disk Bays |  |
| RAID Controller model and specification | Manufacturer |  |
|  | Model No. |  |
|  | RAID support |  |
|  | Other Specification |  |
| Power Supply (Specification, Feature and Redundancy offered) |  |
| Graphics Card (Specification stating the amount of Video RAM in the card) |  |
| Network Interfaces (Specification) |  |
| PCI expansion slots (Nos. and specification)(Also mention whether hot-plug, bus speed and industry standard compliance) |  |
| I/O Ports (mention all the ports available with the nos. and their specifications for e.g. USB, Parallel, Serial, etc.) |  |
| Floppy Drive |  |
| Combo Drive (Specification) |  |
| Backup Device (Specification) |  |
| Monitor (Specification) |  |
| Keyboard |  |
| Mouse |  |
| Industry Standard Compliances (ACPI, APM, etc.) if any. |  |
| Server Management software specifications |  |
| Certifications, if any (attach copies of relevant certificates in support) |  |
| Warranty (Please mention the no. of years of warranty provided (min. 3 years) giving details how the bidder intends to provide service in the event of hardware or software failures during warranty period) |  |
| Others features, if any |  |

(ii) Intel Based (Option – 2)

| Parameters | Specifications |
| --- | --- |
| Product Manufacturer’s Name |  |
| Model Name and No. |  |
| Processor | Processor Model No. |  |
|  | Type |  |
|  | Speed |  |
|  | FSB |  |
|  | L1 cache |  |
|  | L2 cache |  |
|  | L3 cache |  |
| Chipset | Model No. |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Total Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | Size of each memory module |  |
|  | No. of DIMMs on System Board |  |
|  | Maximum Memory Supported |  |
| System Fans (No. and its specification) (Mention whether Hot Plug). |  |
| Disk | Manufacturer |  |
|  | Model No. |  |
|  | Capacity |  |
|  | RPM |  |
| Storage Controller (Model and specification) | Manufacturer |  |
|  | Model No. |  |
|  | Specification |  |
| Disk Bays |  |
| RAID Controller model and specification | Manufacturer |  |
|  | Model No. |  |
|  | RAID support |  |
|  | Other Specification |  |
| Power Supply (Specification, Feature and Redundancy offered) |  |
| Graphics Card (Specification stating the amount of Video RAM in the card) |  |
| Network Interfaces (Specification) |  |
| PCI expansion slots (Nos. and specification)(Also mention whether hot-plug, bus speed and industry standard compliance) |  |
| I/O Ports (mention all the ports available with the nos. and their specifications for e.g. USB, Parallel, Serial, etc.) |  |
| Floppy Drive |  |
| Combo Drive (Specification) |  |
| Backup Device (Specification) |  |
| Monitor (Specification) |  |
| Keyboard |  |
| Mouse |  |
| Industry Standard Compliances (ACPI, APM, etc.) if any. |  |
| Server Management software specifications |  |
| Certifications, if any (attach copies of relevant certificates in support) |  |
| Warranty (Please mention the no. of years of warranty provided (min. 3 years) giving details how the bidder intends to provide service in the event of hardware or software failures during warranty period) |  |
| Others features, if any |  |

1(b). Operating System for Servers (1(a)).

| Parameters | Specifications |
| --- | --- |
| OS Name and Version |  |
| No. of user licenses with OS |  |
| Type of extra user Licenses being offered |  |
| Maximum Memory supported |  |
| Annual Technical Support, if provided for any patches and upgradation of the product. |  |
| Others, if any |  |

1(c). Server - Single Processor based.

(i) AMD Based (Option – 1)

| Parameters | Specifications |
| --- | --- |
| Product Manufacturer’s Name |  |
| Model Name and No. |  |
| Processor | Processor Model No. |  |
|  | Type |  |
|  | Speed |  |
|  | FSB |  |
|  | L1 cache |  |
|  | L2 cache |  |
|  | L3 cache |  |
| Chipset | Model No. |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Total Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | Size of each memory module |  |
|  | No. of DIMMs on System Board |  |
|  | Maximum Memory Supported |  |
| System Fans (No. and its specification) (Mention whether Hot Plug). |  |
| Disk | Manufacturer |  |
|  | Model No. |  |
|  | Capacity |  |
|  | RPM |  |
| Storage Controller (Model and specification) | Manufacturer |  |
|  | Model No. |  |
|  | Specification |  |
| Disk Bays |  |
| RAID Controller model and specification | Manufacturer |  |
|  | Model No. |  |
|  | RAID support |  |
|  | Other Specification |  |
| Power Supply (Specification, Feature and Redundancy offered) |  |
| Graphics Card (Specification stating the amount of Video RAM in the card) |  |
| Network Interfaces (Specification) |  |
| PCI expansion slots (Nos. and specification)(Also mention whether hot-plug, bus speed and industry standard compliance) |  |
| I/O Ports (mention all the ports available with the nos. and their specifications for e.g. USB, Parallel, Serial, etc.) |  |
| Floppy Drive |  |
| Combo Drive (Specification) |  |
| Backup Device (Specification) |  |
| Monitor (Specification) |  |
| Keyboard |  |
| Mouse |  |
| Industry Standard Compliances (ACPI, APM, etc.) if any. |  |
| Server Management software specifications |  |
| Certifications, if any (attach copies of relevant certificates in support) |  |
| Warranty (Please mention the no. of years of warranty provided (min. 3 years) giving details how the bidder intends to provide service in the event of hardware or software failures during warranty period) |  |
| Others features, if any |  |

(ii) Intel Based (Option – 2)

| Parameters | Specifications |
| --- | --- |
| Product Manufacturer’s Name |  |
| Model Name and No. |  |
| Processor | Processor Model No. |  |
|  | Type |  |
|  | Speed |  |
|  | FSB |  |
|  | L1 cache |  |
|  | L2 cache |  |
|  | L3 cache |  |
| Chipset | Model No. |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Total Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | Size of each memory module |  |
|  | No. of DIMMs on System Board |  |
|  | Maximum Memory Supported |  |
| System Fans (No. and its specification) (Mention whether Hot Plug). |  |
| Disk | Manufacturer |  |
|  | Model No. |  |
|  | Capacity |  |
|  | RPM |  |
| Storage Controller (Model and specification) | Manufacturer |  |
|  | Model No. |  |
|  | Specification |  |
| Disk Bays |  |
| RAID Controller model and specification | Manufacturer |  |
|  | Model No. |  |
|  | RAID support |  |
|  | Other Specification |  |
| Power Supply (Specification, Feature and Redundancy offered) |  |
| Graphics Card (Specification stating the amount of Video RAM in the card) |  |
| Network Interfaces (Specification) |  |
| PCI expansion slots (Nos. and specification)(Also mention whether hot-plug, bus speed and industry standard compliance) |  |
| I/O Ports (mention all the ports available with the nos. and their specifications for e.g. USB, Parallel, Serial, etc.) |  |
| Floppy Drive |  |
| Combo Drive (Specification) |  |
| Backup Device (Specification) |  |
| Monitor (Specification) |  |
| Keyboard |  |
| Mouse |  |
| Industry Standard Compliances (ACPI, APM, etc.) if any. |  |
| Server Management software specifications |  |
| Certifications, if any (attach copies of relevant certificates in support) |  |
| Warranty (Please mention the no. of years of warranty provided (min. 3 years) giving details how the bidder intends to provide service in the event of hardware or software failures during warranty period) |  |
| Others features, if any |  |

1(d). Operating System for Servers (1(c))

| Parameters | Specifications |
| --- | --- |
| OS Name and Version |  |
| No. of user licenses with OS |  |
| Type of extra user Licenses being offered |  |
| Maximum Memory supported |  |
| Annual Technical Support, if provided for any patches and upgradation of the product. |  |
| Others, if any |  |

Schedule – II: Desktop Computers.

| Parameters | Specification |
| --- | --- |
| Product Name |  |
| Product Manufacturer’s Name |  |
| Processor |  |
| Cache |  |
| Chipset |  |
| No. of RAM slots available in the motherboard |  |
| RAM Specification including detail of module combination given |  |
| Hard Disk Specification |  |
| Graphics specification |  |
| Audio card specification |  |
| Monitor Specification |  |
| Floppy Drive Specification |  |
| CD-ROM Specification |  |
| Ethernet Card Specification |  |
| Keyboard Specification |  |
| Mouse Specification |  |
| I/O ports number and their specification |  |
| Mention whether Headphones, microphone and external speakers jack available |  |
| Whether Latest Open Office suite preloaded |  |
| Certifications, if any |  |
| Industry Standard Compliances (for e.g. ACPI, APM, etc), if any |  |
| Others, if any |  |
| Warranty |  |

Schedule III - Laptops.

| Parameters | Specification |
| --- | --- |
| Core Technology |  |
| Processor | Intel Processor Model No. |  |
|  | Type |  |
|  | Speed |  |
|  | FSB |  |
|  | L1 cache |  |
|  | L2 cache |  |
| Chipset | Chipset Model No. |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | No. of DIMMS |  |
|  | Channels supported |  |
|  | Maximum Size |  |
| Hard Drive | Manufacturer |  |
|  | Model No. |  |
|  | Capacity |  |
|  | RPM |  |
|  | Whether Shock Proof |  |
| Display | Technology |  |
|  | Size |  |
|  | Resolution |  |
|  | No. of Colours |  |
| Graphics | Manufacturer |  |
|  | Model No. |  |
|  | Video RAM |  |
|  | No. of Colours |  |
|  | Resolution Supported |  |
|  | AIGLX Support |  |
| Audio | Manufacturer |  |
|  | Model No. |  |
|  | No. of Bits |  |
|  | Microphone |  |
| Optical Storage | Manufacturer |  |
|  | Model No. |  |
|  | Modes Supported |  |
|  | DVD Writing Speed |  |
|  | DVD Reading Speed |  |
|  | CD Writing Speed |  |
|  | CD Reading Speed |  |
| Wi-fi | Manufacturer |  |
|  | Model No. |  |
|  | IEEE Standard |  |
|  | Speed |  |
| Bluetooth | Manufacturer |  |
|  | Model No. |  |
|  | Bluetooth Standard |  |
|  | Range |  |
| Ethernet Adapter | Manufacturer |  |
|  | Model No. |  |
|  | Speed |  |
| Modem | Manufacturer |  |
|  | Model No. |  |
|  | Type of Modem |  |
|  | ITU-T Standard and other standards |  |
| Infrared | Manufacturer |  |
|  | Model No. |  |
|  | Standards Supportted |  |
| PCMCIA | Manufacturer |  |
|  | Model No. |  |
|  | No. of Slots |  |
|  | Type of Slots |  |
|  | Cardbus |  |
| Card Reader | Manufacturer |  |
|  | Model No. |  |
|  | No. of Card Family Supported |  |
|  | Card Family Supported |  |
| IEEE 1394 Firewire | Manufacturer |  |
|  | Model No. |  |
| Ports and Connectors Available | Name of port | No. |
| Keyboard | No. of Keys |  |
|  | Features |  |
| Touch Pad | Manufacturer |  |
|  | Model No. |  |
|  | Features |  |
| Security |  |
| Power | Manufacturer |  |
|  | Model No. |  |
|  | Technology |  |
|  | No. of Cells |  |
|  | Backup Time |  |
|  | Charging Time |  |
|  | AC Input Range |  |
|  | Travel Battery Specification |  |
|  | Others, if any |  |
| Red Hat Linux Operating System | Version No. Offered |  |
|  | Update No. |  |
|  | Type of Support pack offered |  |
|  | Subscription (in years) |  |
| Norton Antivirus | Version No. |  |
|  | Subscription (in years) |  |
| Devanagari Script in Unicode | Software Name and Version No. |  |
|  | Software Manufacturer |  |
|  | Keyboard Layouts offered |  |
| Certifications |  |
| Warranty |  |

Schedule – IV: Thin Clients

| Parameter | Specification |
| --- | --- |
| Processor | Manufacturer |  |
|  | Model No. |  |
|  | Processor Speed |  |
|  | L1 Cache |  |
|  | L2 Cache |  |
|  | FSB |  |
| System Board | Manufacturer |  |
|  | Model No. |  |
|  | Features |  |
| Operating System | OS Name and Version |  |
|  | Network Filesystem Support |  |
|  | Type of Printing Supported |  |
|  | Windows Manager |  |
|  | Other Features, if any |  |
| Local Applications |  |
| Memory | Manufacturer |  |
|  | Type |  |
|  | Size |  |
|  | Speed |  |
|  | No. of Memory Modules given |  |
|  | No. of DIMMS |  |
|  | Channels supported |  |
|  | Maximum Size |  |
| Flash ROM | Manufacturer |  |
|  | Type |  |
|  | Size |  |
|  | Speed |  |
| Audio | Manufacturer |  |
|  | Model No. |  |
|  | No. of Bits |  |
| I/O | Serial |  |
|  | Parallel |  |
|  | USB |  |
|  | VGA |  |
|  | PS2 |  |
|  | Audio |  |
|  | Others, if any |  |
| Ethernet Adapter | Manufacturer |  |
|  | Model No. |  |
|  | Speed |  |
| Network Protocols Supported |  |
| Display Adapter | Manufacturer |  |
|  | Model No. |  |
|  | Video RAM |  |
|  | No. of Colours |  |
|  | Resolution Supported |  |
| Security | Setup |  |
|  | Lock |  |
| USB Storage supported in RDP, ICA and XDMCP sessions. |  |
| Session Protocols Supported |  |
| User Interface | Modes |  |
|  | Switching Trigger |  |
| Monitor | Manufacturer |  |
|  | Model No. |  |
|  | Size |  |
|  | Features |  |
| Mouse | Manufacturer |  |
|  | Model No. |  |
|  | Features |  |
| Keyboard | Manufacturer |  |
|  | Model No. |  |
|  | Features |  |
| Server Operating Systems Supported |  |
| Emulations Supported |  |
| Smart Card Reader | Manufacturer |  |
|  | Model No. |  |
|  | Features |  |
|  | Internal/External |  |
| Additional Features, if any |  |
| Power Supply | Wattage |  |
|  | AC Voltage Range |  |
|  | AC Frequency Range |  |
| Mounting of Thin Clients |  |
| Regulatory Standards |  |
| Point by point details of Management Software (to be supplied as part of Thin Client Management Software) |  |
| Warranty |  |

Schedule – V: Laser Printers

5(a). Laser Printers (Heavy Duty)

| Parameter | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Speed |  |
| Resolution |  |
| Processor Specification |  |
| Memory | Memory Provided |  |
|  | Max. Memory Supported |  |
| Compact Flash Slot Specification |  |
| Duty Cycle(in months) |  |
| Language and fonts supported |  |
| Media | Input media trays specification |  |
|  | Output media tray specification |  |
|  | Paper Size Supported |  |
|  | Type of Paper Supported |  |
| Interfaces | USB |  |
|  | Parallel Port |  |
|  | Ethernet Port |  |
| Network Protocols Supported |  |
| Client Operating System Supported |  |
| Network Operating System (OS supported for network printing) |  |
| Power Consumption | Printing |  |
|  | Power Save Mode |  |
|  | Standby |  |
| Warranty |  |

5(b) Laser Printers.

| Parameters | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Print Technology |  |
| Print Speed (Specify ppm with paper size variants) |  |
| Paper Handling (trays & no. of paper sheets per tray) |  |
| Paper Sizes Supported |  |
| Compatible Operating Systems |  |
| External I/O Ports |  |
| Printer Memory |  |
| Network Ready |  |
| Other Technical Specifications |  |
| Certification (attach copies of relevant certificates in support) |  |
| Warranty |  |

Schedule – VI: Line Matrix Printers

| Parameters | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Print Method |  |
| Print Speed | Print Speed (For characters) (in lines per minute) |
|  | High Speed |  |
|  | Data Processing |  |
|  | Near Letter Quality |  |
|  | Graphics Speed (inches per minute) |
|  | 60 x 48 dpi |  |
|  | 60 x 72 dpi |  |
|  | 90 x 96 dpi |  |
|  | Paper Feed Speed (inches per second) |  |
| Typefaces |  |
| Character Pitch (in character per inch) |  |
| Line Spacing (lines per inch) |  |
| Maximum Resolution (Horizontal x Vertical) in dpi |  |
| Printable Width (in inches) |  |
| Emulations |  |
| Resident Character Sets |  |
| Character Styles |  |
| Fonts |  |
| Resident Bar Codes |  |
| Paper Handling | Paper Types Supported |  |
|  | Width |  |
|  | Copies |  |
|  | Thickness |  |
|  | Paper Path |  |
|  | Feed |  |
|  | Forms Controls |  |
| Interfaces | Serial |  |
|  | Parallel |  |
|  | Ethernet |  |
|  | Wireless |  |
| Acoustic Noise |  |
| Driver Availability and Utilites | Driver for the Operating Systems |  |
|  | Features of utilities for management, if any |  |
| Enclosure Specification |  |
| Electrical Specification | Input Voltage |  |
|  | Frequency |  |
| Other features, if any |  |
| Warranty |  |

Schedule – VII: Dot Matrix Printers

7(a) Dot Matrix Printers - 136 Columns

| Parameter | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Printer Type |  |
| Number of Columns |  |
| Number of Pins |  |
| Printing Direction |  |
| Print Speed |  | 10 cpi | 12 cpi | 15 cpi | 17 cpi | 20 cpi |
|  | High Speed Draft |  |  |  |  |  |
|  | High Speed Draft Condensed |  |  |  |  |  |
|  | Draft |  |  |  |  |  |
|  | Draft Condensed |  |  |  |  |  |
|  | LQ |  |  |  |  |  |
| Print Characteristics | Character Sets |  |
|  | Bitmap Fonts |  |
|  | Bar Code Fonts |  |
| Printable Columns | Pitch (CPI) | Characters Per Line |
|  | 10 |  |
|  | 12 |  |
|  | 15 |  |
|  | 17 condensed |  |
|  | 20 condensed |  |
| Line Spacing | Paper Size | Paper Size | Width | Length | Thickness |
|  |  | Cut-Sheet Manual Insertion |  |  |  |
|  |  | Cut-Sheet Multipart |  |  |  |
|  |  | Continuous |  |  |  |
|  |  | Envelop No. 6 |  |  |  |
|  |  | Envelop No. 10 |  |  |  |
|  |  | Label |  |  |  |
|  |  | Roll Paper |  |  |  |
|  | Paper Path | Cut-sheet |  |
|  |  | Continuous |  |
|  | Paper Feeding | Friction |  |
|  |  | Push Tractor |  |
|  |  | Pull Tractor |  |
|  | Copies |  |
|  | Line Spacing |  |
| Input Data Buffer |  |
| Interface |  |
| Ribbon Cartridge | Type |  |
|  | Life |  |
| Acoustic Noise (in decibel) |  |
| Reliability | MVBF (Mean Print Volume Between Failure) |  |
|  | MTBF (Mean Time Between Failure) |  |
|  | PRINT HEAD LIFE |  |
| Control Panel | Switches |  |
|  | LEDs |  |
| Electrical Specification | Rated Voltage |  |
|  | Rated Frequency |  |
|  | Power Consumption |  |
| Printer Driver Availability and utilities | Driver availability for the Operating Systems |  |
|  | Software Utilities for monitoring |  |
| Warranty |  |

7(b) Dot Matrix Printers – 80 Columns

| Parameter | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Printer Type |  |
| Number of Columns |  |
| Number of Pins |  |
| Printing Direction |  |
| Print Speed |  | 10 cpi | 12 cpi | 15 cpi | 17 cpi | 20 cpi |
|  | High Speed Draft |  |  |  |  |  |
|  | High Speed Draft Condensed |  |  |  |  |  |
|  | Draft |  |  |  |  |  |
|  | Draft Condensed |  |  |  |  |  |
|  | LQ |  |  |  |  |  |
| Print Characteristics | Character Sets |  |
|  | Bitmap Fonts |  |
|  | Bar Code Fonts |  |
| Printable Columns | Pitch (CPI) | Characters Per Line |
|  | 10 |  |
|  | 12 |  |
|  | 15 |  |
|  | 17 condensed |  |
|  | 20 condensed |  |
| Line Spacing | Paper Size | Paper Size | Width | Length | Thickness |
|  |  | Cut-Sheet Manual Insertion |  |  |  |
|  |  | Cut-Sheet Multipart |  |  |  |
|  |  | Continuous |  |  |  |
|  |  | Envelop No. 6 |  |  |  |
|  |  | Envelop No. 10 |  |  |  |
|  |  | Label |  |  |  |
|  |  | Roll Paper |  |  |  |
|  | Paper Path | Cut-sheet |  |
|  |  | Continuous |  |
|  | Paper Feeding | Friction |  |
|  |  | Push Tractor |  |
|  |  | Pull Tractor |  |
|  | Copies |  |
|  | Line Spacing |  |
| Input Data Buffer |  |
| Interface |  |
| Ribbon Cartridge | Type |  |
|  | Life |  |
| Acoustic Noise (in decibel) |  |
| Reliability | MVBF (Mean Print Volume Between Failure) |  |
|  | MTBF (Mean Time Between Failure) |  |
|  | PRINT HEAD LIFE |  |
| Control Panel | Switches |  |
|  | LEDs |  |
| Electrical Specification | Rated Voltage |  |
|  | Rated Frequency |  |
|  | Power Consumption |  |
| Printer Driver Availability and utilities | Driver availability for the Operating Systems |  |
|  | Software Utilities for monitoring |  |
| Warranty |  |

Schedule – VIII: Switches

8(a) Cisco Catalyst 2960-24TC (Attach Product Data Sheet)

| Parameters | Specifications |
| --- | --- |
| Model Name |  |
| No. of ports with speed |  |
| Specification |  |
| Warranty offered |  |

8(b) Cisco Catalyst Express 500 – 24PC (Attach Product Data Sheet)

| Parameters | Specifications |
| --- | --- |
| Model Name |  |
| No. of ports with speed |  |
| Specification |  |
| Warranty offered |  |

8(c) Managed Switch of models other than 8(a) and 8(b).

| Parameter | Specification |
| --- | --- |
| Manufacturer |  |
| Model No. |  |
| Type |  |
| Backplane Speed |  |
| Forwarding Bandwidth |  |
| Forwarding Rate |  |
| MAC Address Support |  |
| Processor Specification |  |
| Memory | RAM size |  |
|  | Flash Memory Size |  |
| Network Timing Protocol (NTP) Support |  |
| Size of Virtual Stack and its features |  |
| DHCP Snooping Support |  |
| TFTP Support |  |
| Storm Control |  |
| No. of VLANs Supported |  |
| Bandwidth Aggregation |  |
| Switch Management and Remote Monitoring |  |
| Spanning Tree Protocol Support and features |  |
| SNMP Support |  |
| Port Monitoring and Security |  |
| IGMP Support |  |
| Other protocols supported |  |
| Other Features |  |
| Indicators |  |
| Power Supply Specification |  |
| Warranty |  |

Schedule – IX: 500VA Offline UPS

| Parameters | Specification |
| --- | --- |
| Product Name |  |
| Model No. |  |
| Product Manufacturer’s Name |  |
| Capacity (min. 700VA) |  |
| Back-up Time |  |
| Technology Used |  |
| AC Input Voltage |  |
| AC Input Frequency |  |
| AC Output Voltage |  |
| AC Output Frequency |  |
| Load Power Factor |  |
| Load Capacity |  |
| Whether Cold Start supported |  |
| Whether Generator Compatible |  |
| Whether no load shutdown feature supported (automatic) |  |
| No. of Batteries |  |
| Battery Manufacturer |  |
| Battery Model No. |  |
| Battery Specification |  |
| Protections Offered |  |
| Display Details |  |
| Alarms |  |
| AC Output Sockets |  |
| Software, if any provided, mention Specifications and features (Also mention the Operating System in which the software works). |  |
| Other features and specifications, if any |  |
| Industry Standards Compliance, if any |  |
| Certifications, if any |  |
| Warranty Offered (Min. 3 years including that of the batteries) |  |

Section – VI: Financial Bid

General Information

| 1. | Name of Company |  |
| --- | --- | --- |
| 2. | Full Address of company alongwith Telephone No.: Fax. No.: E-mail Address: |  |
| 3. | Excise duty included in the quoted price | ___ . ___ % of basic price |
| 4. | Any other charges included in the quoted price Trade tax/Sales Tax Any other Levies | ___ . ___ % of (basic price + excise duty) ___ . ___ % |
| 5. | Discount if any | ___ . ___ % |
| 6. | AMC Charges (Should not be more than 6% of the Hardware value) | ___ . ___ % |

Schedule – I: Servers

Price Schedule for Items Nos. 1(a)(i), 1(a)(ii) and 1(b)

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 1(a)(i) AMD based Dual Processor Servers (Option – 1). | 2 |  |  |  |  |  |  |  |
| 2. | 1(a)(ii) Intel based Dual Processor Servers (Option – 2). | 2 |  |  |  |  |  |  |  |
| 3. | 1(b) Operating System for items 1(a)(i) and 1(a)(ii) | 2 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Price Schedule for Items Nos. 1(c)(i), 1(c)(ii) and 1(d)

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 1(c)(i) AMD based Single Processor Servers (Option – 1). | 2 |  |  |  |  |  |  |  |
| 2. | 1(c)(ii) Intel based Single Processor Servers (Option – 2). | 2 |  |  |  |  |  |  |  |
| 3. | 1(d) Operating System for items 1(c)(i) and 1(c)(ii) | 2 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – II: Desktop Computers

| Sl No. | Items | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | Desktop Computers | 30 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – III: Laptops

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | Laptops | 25 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – IV: Thin Clients

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | Thin Clients | 370 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – V: Laser Printers

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 5(a) Laser Printers (Heavy Duty) | 3 |  |  |  |  |  |  |  |
| 2. | 5(b) Laser Printers | 30 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – VI: Line Matrix Printers

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | Line Matrix Printers | 2 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – VII: Dot Matrix Printers

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 7(a) 136 Cols. Dot Matrix Printers | 5 |  |  |  |  |  |  |  |
| 2. | 7(b) 80 Cols. Dot Matrix Printers | 200 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – VIII: Managed Switches

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 8(a) Cisco Catalyst 2960-24TC Switch (Option – 1). | 2 |  |  |  |  |  |  |  |
| 2. | 8(b) Cisco Catalyst Express 500-24PC Switch (Option – 2). | 2 |  |  |  |  |  |  |  |
| 3. | 8(c) Managed Switch of make and models other than 8(a) and 8(b) and with specification as mentioned in Section – V, Schedule – VIII, 8(c) (Option – 3). | 2 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |

Schedule – IX: 500VA Offline UPS

| Sl No. | Items. | Approx. Quantity | Unit Price | Total Price (Rs.) 3 x 9 |
| --- | --- | --- | --- | --- |
|  |  |  | Basic Price (Rs.) | Excise Duty (Rs.) | Sub-Total (Rs.) 4+5 | Trade Tax (Rs.) | Service charges including installation, training & warranty etc. (Rs.) | Total Unit Price (Rs.) 6+7+8 |  |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) |
| 1. | 500VA Offline UPS | 200 |  |  |  |  |  |  |  |
| Grand Total (Rs.) |  |